## IIS
Island Interconnected System (IIS)
 | time axis 2009-01-01 to 2018-12-01
Newfoundland Power Winter Season Native Peak
Actual (kW) | 2009-01-01: 1218600; 2010-02-01: 1205980; 2011-02-01: 1165995; 2012-01-01: 1240918; 2013-02-01: 1280961; 2014-03-01: 1398465; 2015-03-01: 1358687; 2015-12-01: 1367034; 2017-02-01: 1422863; 2017-12-01: 1362039
Weather Normal (kW) | 2009-01-01: 1233689.8719; 2010-02-01: 1237006.7633; 2011-02-01: 1247643.3734; 2012-01-01: 1303869.9065; 2013-02-01: 1350495.6244; 2014-03-01: 1343305.6338; 2015-03-01: 1382219.1545; 2015-12-01: 1381229.2616; 2017-02-01: 1445903.8841; 2017-12-01: 1384875.7563
Newfoundland Power
Bulk Sales (MWh) | 636160 | 540376 | 552061 | 421771 | 347556 | 304313 | 290966 | 283331 | 297053 | 414950 | 450251 | 570028.473 | 603546.199 | 532384.82 | 534893.433 | 427295.137 | 396714.523 | 312406.929 | 284509.525 | 288189.386 | 295451.337 | 366350.041 | 462013.05 | 511755.498 | 575393.531 | 581186.284 | 579619.374 | 470054.587 | 391434.497 | 336874.091 | 290882.097 | 302702.923 | 308162.017 | 395508.458 | 486581.346 | 599095.87 | 645273 | 605773 | 612211 | 441536 | 373354.613 | 336075.643 | 304953.721 | 308703.287 | 288424.033 | 378470.48 | 453290.48 | 611252.024 | 703822.928 | 607306.57 | 572644.005 | 493810.883 | 387912.808 | 337722.526 | 298446.496 | 294706.004 | 293845.194 | 405323.94 | 498223.042 | 711965.166 | 701822.28 | 668138.074 | 704231.084 | 543018.07 | 458076.079 | 328626.921 | 303484.393 | 300338.819 | 315235.972 | 401788.711 | 508174.745 | 619191.22 | 740593.181 | 668359.635 | 712055.312 | 569863.97 | 419451.865 | 344343.122 | 326065.882 | 301205.728 | 323234.312 | 424944.8 | 550931.186 | 691085.683 | 734243.55 | 634892.663 | 667530.904 | 520761.236 | 412499.27 | 347085.498 | 314644.032 | 302974.62 | 327366.899 | 417952.992 | 463553.443 | 701229.63 | 724216.281 | 661481.509 | 675180.677 | 542526.383 | 462006.856 | 333307.254 | 294324.608 | 299504.058 | 302758.87 | 406289.139 | 521844.394 | 671655.684 | 702956.912 | 626268.569 | 614272.93 | 517703.249 | 435872.855 | 375210.617 | 294942.659 | 296481.077 | 332491.161 | 432265.381 | 540519.642 | 670150.8
CP (kW) | 1163002.7 | 1074733.1 | 1053346.4 | 868821.8 | 754905.8 | 632607.8 | 548369.6 | 536899.4 | 595192.6 | 854876 | 857180 | 1067598.5 | 1077241.4 | 1143181.5 | 960886.5 | 842368.3 | 702969 | 685036 | 511580 | 483248 | 573983 | 718368 | 1000494 | 1011804.5 | 1049637.5 | 1104774.5 | 1028721.5 | 949723.5 | 785026.15 | 704818.3 | 579065 | 508194 | 618606 | 801288 | 1004872 | 1186325.4 | 1174772 | 1148384.1405 | 1157047 | 942874.21 | 837467.7 | 705414 | 511194 | 530650.04 | 527351.23 | 795972 | 936919.04 | 1121432 | 1180714.8792 | 1180929.724 | 1097348.46 | 935244.62 | 774696.2363 | 688158.8821 | 523450 | 546267.2276 | 598903 | 830667 | 993949 | 1276328 | 1320101.9351 | 1292701.9154 | 1289673.8473 | 1066182.4305 | 861510.759 | 682036 | 511782 | 467629 | 692412 | 745920 | 1065105 | 1262829 | 1293140 | 1272367 | 1282057 | 1054140 | 871840 | 593117 | 575927 | 558633 | 670812 | 818542 | 1174738 | 1307315 | 1272614 | 1254783 | 1220293 | 1078404 | 816212 | 746291 | 606814 | 532736 | 698501 | 826841 | 989518 | 1284796 | 1315344.23 | 1309249 | 1282968 | 1026583.6396 | 858568 | 730587 | 535945 | 465049 | 585947 | 852913 | 1042111 | 1288651 | 1252636 | 1226592 | 1093183 | 995894 | 827253 | 854566 | 463144 | 491654 | 673813 | 813086 | 1069238 | 1280085
NCP (kW) | 1168092.7 | 1083318.1 | 1053346.4 | 871927.8 | 754905.8 | 632607.8 | 549472.6 | 536899.4 | 595192.6 | 856050 | 857180 | 1071074.5 | 1089924.4 | 1146307.5 | 965613.5 | 844994.3 | 712566 | 702969 | 559734 | 507029 | 590886 | 718368 | 1000494 | 1013203.5 | 1055315.5 | 1104774.5 | 1028721.5 | 951782.053 | 785026.15 | 704818.3 | 579065 | 569538 | 618606 | 807765 | 1004872 | 1186325.4 | 1177918 | 1154312.808 | 1157047.28 | 943391.31 | 837693 | 705414.48 | 532064.24 | 530808.35 | 536561.04 | 795972 | 944428.532 | 1121432 | 1184090.0831 | 1191267.56 | 1097348.46 | 935923.9 | 787527.3835 | 697518.084 | 532461 | 546267.2276 | 598903 | 834303 | 993949 | 1276328 | 1323124.293 | 1292702 | 1289737.7216 | 1091376 | 899383 | 682036 | 528452 | 554086 | 692412 | 765294 | 1065105 | 1262829 | 1293140 | 1274383 | 1282057 | 1085208 | 886518 | 661949 | 606225 | 560455 | 670812 | 895466 | 1178805 | 1307315 | 1272614 | 1254783 | 1220293 | 1082612 | 821662 | 746291 | 609776 | 532736 | 698501 | 833348 | 989518 | 1284796 | 1325110 | 1351114 | 1288607 | 1042548 | 914608 | 735343 | 538505 | 528720 | 609724 | 853544 | 1042111 | 1288651 | 1277051 | 1248293 | 1093183 | 996676 | 827253 | 856261 | 518455 | 507421 | 722664 | 818281 | 1090415 | 1280085
Industrial
Bulk Sales (MWh) | 55017.319 | 45867.372 | 41887.519 | 18328.678 | 19893.701 | 30059.437 | 31751.7 | 33401.24 | 30833.442 | 30147.496 | 26901.124 | 29356.398 | 22742.999 | 18821.9137 | 30342.719 | 39475.0113 | 38000.5362 | 31472.9718 | 27627.8363 | 31244.7935 | 29801.5248 | 33367.2842 | 30970.1953 | 35620.715 | 33123.512 | 24897.9095 | 33059.4914 | 32115.1463 | 23179.5812 | 10291.643 | 9545.8436 | 22374.8401 | 28599.7574 | 30269.0926 | 30957.4705 | 32467.6275 | 32959.2032 | 32674.3062 | 38355.6191 | 42845.351 | 36611.8445 | 33665.884 | 31814.4479 | 38042.3342 | 29220.5657 | 31036.954 | 29316.4843 | 33076.8296 | 31612.6322 | 25860.5004 | 30915.2638 | 32123.928 | 31721.6698 | 27547.1541 | 21332.8764 | 29285.4983 | 28595.4229 | 24799.2842 | 33554.8253 | 33906.2633 | 28925.4528 | 31688.4087 | 33621.1827 | 31139.2192 | 31983.3613 | 26476.6564 | 33771.9403 | 33744.8567 | 20247.3275 | 40386.1212 | 41846.7723 | 38118.439 | 40236.0546 | 32931.0125 | 43056.7058 | 41422.8428 | 41350.1589 | 42523.3562 | 38820.6917 | 42073.5813 | 41057.3438 | 43594.1565 | 44749.3295 | 46708.5381 | 39523.0025 | 39169.7205 | 41341.8663 | 39540.1444 | 44963.7482 | 41909.4379 | 42524.0995 | 46385.5284 | 41882.988 | 46430.331 | 43311.533 | 43825.7812 | 36583.6827 | 39488.7223 | 50386.5735 | 50891.045 | 56211.5152 | 39808.516 | 52575.5396 | 52625.217 | 47952.3662 | 50050.9217 | 57055.3312 | 52991.5326 | 54509.0657 | 49418.1868 | 53594.5687 | 54929.2374 | 37760.6424 | 45344.4285 | 51510.9212 | 44849.6807 | 55445.656 | 59942.6504 | 55807.4371 | 59508.5308
CP (kW) | 80387 | 87893 | 71764 | 26327 | 13999 | 54537 | 48921 | 38085 | 42456 | 44002 | 30733 | 45379 | 52465 | 21722 | 52891 | 57350 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 47371 | 40220 | 35595 | 38795 | 51954 | 55472 | 12824 | n/a | n/a | n/a | n/a | n/a | 52379 | 51699 | 52177 | 37304 | 61228 | 61051 | 38600 | 54410 | 59459 | 41267 | 39872 | 54834 | 38726 | 40821 | 28934 | 27449 | 44785 | 53914 | 47695 | 31561 | 37554 | 33094 | 47606 | 53146 | 51346 | 40229 | 45972 | 39315 | 32067 | 45856 | 43129 | 47380 | 46414 | 30722 | 55465 | 55109 | 47863 | 46314 | 54341 | 62382 | 58047 | 51032 | 53737 | 53455 | 59394 | 45311 | 62945 | 60630 | 68830 | 61507 | 40905 | 63597 | 58963 | 67481 | 67654 | 50557 | 62136 | 51256 | 68061 | 62455 | 67784 | 47039 | 55410 | 59465 | 76265 | 79864 | 67333 | 69085 | 63591 | 63030 | 71379 | 80864 | 64999 | 73723 | 69216 | 81651 | 68707 | 63125 | 65742 | 66295 | 88058 | 83720 | 87304 | 84505 | 82285
NCP (kW) | 94013 | 93135 | 74813 | 45576 | 71781 | 69289 | 50372 | 39177 | 44906 | 46070 | 74797 | 47311 | 64026 | 42505 | 64938 | 65412 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 65500 | 63000 | 63000 | 63000 | 61770 | 60170 | 36725 | n/a | n/a | n/a | n/a | n/a | 61050 | 63000 | 63000 | 63000 | 63000 | 62541 | 62516 | 61564 | 61734 | 61798 | 62220 | 62525 | 62934 | 59809 | 57818 | 57490 | 58565 | 57136 | 56550 | 56999 | 57503 | 58917 | 58064 | 62186 | 63710 | 54011 | 53567 | 54563 | 53593 | 52558 | 51537 | 52967 | 50104 | 55049 | 57985 | 65476 | 63730 | 65676 | 58628 | 68116 | 63686 | 64025 | 65471 | 65255 | 64384 | 67908 | 68214 | 68378 | 71958 | 71958 | 71543 | 69508 | 68888 | 70138 | 72148 | 70801 | 70177 | 66986 | 72304 | 73140 | 75223 | 70250 | 75499 | 82164 | 84985 | 85170 | 81092 | 84673 | 87609 | 89838 | 92830 | 93045 | 92387 | 92236 | 94169 | 92485 | 93833 | 74239 | 92398 | 90707 | 89228 | 94288 | 95395 | 92856 | 94736
Hydro Rural
Bulk Sales (MWh) | 45974.396 | 37966.02 | 41039.383 | 34517.797 | 33053.192 | 27104.776 | 27248.473 | 28174.025 | 27035.527 | 34126.524 | 36283.319 | 42794.725 | 42792.03 | 37375.117 | 37652.87 | 33012.256 | 33333.244 | 30086.73 | 29486.909 | 27637.555 | 26942.505 | 32239.502 | 35738.46 | 40154.691 | 43033.062 | 41932.919 | 42616.604 | 37943.79 | 36778.106 | 32298.478 | 31546.169 | 28786.637 | 26330.625 | 31807.891 | 37602.191 | 46917.036 | 48823.704 | 45336.364 | 46059.301 | 36931.356 | 34631.366 | 30843.463 | 30073.508 | 29587.868 | 26637.66 | 31782.277 | 37457.562 | 47459.866 | 52467.105 | 44847.806 | 43364.631 | 38332.024 | 36162.77 | 31627.774 | 29640.672 | 30239.355 | 28889.121 | 33762.724 | 39509.479 | 49149.33 | 53732.393 | 47856.579 | 50616.113 | 40978.626 | 33718.793 | 31430.638 | 30212.026 | 27948.091 | 26346.776 | 31502.383 | 40267.082 | 48872.12 | 53845.682 | 48357.645 | 50775.58 | 41230.295 | 36671.898 | 31434.204 | 32216.745 | 28820.599 | 27665.06 | 34333.914 | 40983.03 | 50266.278 | 51883.022 | 46894.218 | 49490.197 | 41802.655 | 35736.036 | 31849.676 | 29979.45 | 30949.458 | 30496.224 | 35842.05 | 38654.208 | 52879.448 | 52083.293 | 47744.582 | 49751.353 | 42051.439 | 38034.635 | 31518.483 | 29992.816 | 29515.324 | 29170.76 | 33917.906 | 40164.549 | 50421.276 | 52754.419 | 47822.814 | 44451.457 | 42309.582 | 39880.083 | 34700.881 | 29363.836 | 28723.444 | 28458.777 | 35999.965 | 43217.401 | 50876.139
CP (kW) | 81276.5 | 70376.5 | 76123 | 65196 | 65372 | 50947 | 42729 | 48548 | 46926 | 61252 | 38332 | 74584 | 80922 | 80253 | 62721 | 62455 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 70725 | 77879 | 77637 | 71761 | 62441 | 58035 | 60907 | n/a | n/a | n/a | n/a | n/a | 90324 | 88097 | 81681 | 84050 | 66715 | 63207 | 60826 | 51326 | 53665 | 48855 | 56459 | 76647 | 86018 | 83218 | 86594 | 75442 | 69821 | 67177 | 61864 | 52578 | 52752 | 47348 | 59632 | 76279 | 94314 | 86813 | 82297 | 80891 | 72851 | 61128 | 54903 | 50097 | 48034 | 49780 | 55345 | 78174 | 94912 | 97042 | 92384 | 90847 | 67844 | 66183 | 54193 | 60294 | 56710 | 59501 | 62827 | 82019 | 97883 | 88421 | 88885 | 79006 | 76847 | 60054 | 50168 | 48394 | 51202 | 53620 | 61976 | 72236 | 92457 | 89885 | 72193 | 80561 | 72690 | 63443 | 58094 | 48786 | 44440 | 48342 | 61934 | 70414 | 93630 | 85132 | 82323 | 76234 | 73974 | 65181 | 64993 | 45536 | 45073 | 51551 | 55567 | 78653 | 90778
NCP (kW) | 87523.5 | 75740.5 | 80529 | 66191 | 65372 | 55004 | 52765 | 53104 | 50988 | 64421 | 67279 | 77649 | 81333 | 81657 | 70491 | 71990 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 78845 | 77879 | 83362 | 75746 | 69541 | 67094 | 62866 | n/a | n/a | n/a | n/a | n/a | 95519 | 88844 | 85099 | 85856 | 72237 | 65303 | 63990 | 55710 | 54403 | 52471 | 60371 | 77000 | 87823 | 92162 | 87500 | 76687 | 73831 | 70126 | 66995 | 53959 | 53853 | 53527 | 64106 | 77397 | 95818 | 100698 | 88929 | 89448 | 76238 | 68471 | 62919 | 53964 | 50486 | 50802 | 61600 | 79020 | 95456 | 97405 | 93323 | 99025 | 72214 | 66183 | 60494 | 61181 | 56710 | 63297 | 64647 | 82019 | 98434 | 88675 | 93774 | 87321 | 81441 | 66332 | 62630 | 54237 | 54534 | 59421 | 63412 | 73454 | 94490 | 90240 | 93387 | 86304 | 75907 | 69072 | 62573 | 51492 | 54584 | 53283 | 63576 | 74638 | 93630 | 89939 | 88932 | 76234 | 76140 | 70118 | 69936 | 50175 | 49121 | 54887 | 64877 | 79412 | 91570
Transmission Losses
(MWh) | 18901 | 16412 | 16636 | 11734 | 9173 | 16122 | 14954 | 16127 | 14298 | 18265 | 22878 | 19014 | 20688 | 22731 | 19882 | 18328 | 18847 | 17899 | 14769 | 13556 | 14832 | 16486 | 18090 | 18897 | 20254 | 19998 | 20767 | 24229 | 13974 | 15833 | 14073 | 16707 | 17021 | 17148 | 17810 | 22827 | 19598 | 21492 | 22012 | 19232 | 18766 | 16899 | 16833 | 15927 | 20859 | 14320 | 18267 | 21931 | 22550 | 24899 | 23521 | 21513 | 17809 | 14940 | 14327 | 14822 | 20013 | 14622 | 20995 | 32057 | 27022 | 23151 | 32876 | 20950 | 13208 | 17381 | 12227 | 11947 | 13985 | 11810 | 25406 | 20003 | 25072 | 25972 | 27211 | 25304 | 20408 | 9890 | 14990 | 14063 | 15062 | 22284 | 23494 | 14173 | 22977.225 | 16049.92 | 20261.781 | 23442.962 | 9250.8797 | 20583.631 | 8520.327 | 13396.528 | 11828 | 15725 | 32493 | 12707.41 | 26210 | 26086 | 18301 | 27692 | 14485 | 12514 | 19448 | 15499 | 13036 | 18165 | 19121 | 10099 | 18122 | 24453 | 22340 | 23587 | 15128 | 19143 | 8066 | 20617 | 15545 | 20628 | 22152 | 31646
At Peak (kW) | 65334 | 141997 | 92767 | 36655 | 35723 | 42908 | 45980 | 35468 | 51425 | 60870 | 128755 | 80339 | 42372 | 59844 | 65802 | 56927 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 76800 | 110364 | 73994 | 61023 | 66082 | 61067 | 42951 | n/a | n/a | n/a | n/a | n/a | 69772 | 70632 | 68158 | 62999 | 64683 | 66974 | 60660 | 49770 | 45526 | 49627 | 60397 | 138500 | 61224 | 72746 | 77742 | 71661 | 57049 | 46913 | 45182 | 39211 | 42927 | 38555 | 66795 | 70626 | 78812 | 87656 | 92039 | 76070 | 65700 | 63345 | 51782 | 52621 | 119923 | 75996 | 83170 | 59572 | 94776 | 56814 | 84168 | 109044 | 91409 | 56615 | 191243 | 78874 | n/a | 60416 | 139036 | 73403 | 75752 | 69098 | 62197 | 69724 | 62896 | 56003 | 63487 | 57935 | 47736 | 55633 | 89802 | 67551 | 75953 | 82362 | 103068 | 64216 | 77471 | 109195 | 60996 | 48914 | 129190 | 64881 | 65244 | 61501 | 37470 | 91049 | 95289 | 58552 | 68125 | 48681 | 59269 | 122235 | 53915 | 86306 | 66863 | 74194 | 17222
Hydro System Requirement
(MWh) | 756052 | 640621 | 651624 | 486352 | 409676 | 377599 | 364920 | 361033 | 369220 | 497489 | 536314 | 661194 | 689770 | 611313 | 622771 | 518110 | 486896 | 391866 | 356393 | 360628 | 367027 | 448443 | 546811 | 606428 | 671804 | 668015 | 676063 | 564342 | 465366 | 395297 | 346047 | 370572 | 380113 | 474733 | 572951 | 701308 | 746654 | 705276 | 718638 | 540545 | 463364 | 417484 | 383675 | 392261 | 365141 | 455610 | 538332 | 713719 | 810453 | 702914 | 670445 | 585780 | 473606 | 411837 | 363747 | 369052 | 371343 | 478508 | 592283 | 827077 | 811502 | 770834 | 821344 | 636085 | 536986 | 403916 | 379695 | 373978 | 375815 | 485488 | 615694 | 726184 | 859746 | 775621 | 833099 | 677821 | 517882 | 428191 | 412093 | 386163 | 407019 | 525157 | 660158 | 802233 | 848627 | 737007 | 778625 | 625547 | 502450 | 441428 | 395668 | 393706 | 411575 | 515950 | 578012 | 810642 | 839093 | 774801 | 793620 | 663161 | 570738 | 417148 | 396341 | 397144 | 392918 | 508423 | 638185 | 785168 | 828343 | 747963 | 734658 | 638529 | 528642 | 474399 | 383884 | 390671 | 431940 | 548836 | 661697 | 812181
MW | 1390 | 1375 | 1294 | 997 | 870 | 781 | 686 | 659 | 736 | 1021 | 1055 | 1267.9 | 1253 | 1305 | 1142.3 | 1019.1 | 885.1 | 853.2 | 685.2 | 635.9 | 732.4 | 881.5 | 1180.7 | 1206.7 | 1278.1 | 1292 | 1200.3 | 1130.2 | 959.6 | 821.5 | 680.3 | 681.9 | 751.4 | 969.2 | 1175.5 | 1398.8 | 1385.2 | 1350.4 | 1341.4 | 1135.5 | 1028.7 | 865.5 | 666.7 | 689.3 | 667.1 | 952.7 | 1206.9 | 1307.4 | 1377.5 | 1374.2 | 1271.9 | 1106.9 | 942.7 | 842.9 | 646.8 | 679.5 | 717.9 | 1004.7 | 1194 | 1500.8 | 1535 | 1513 | 1486 | 1237 | 1032 | 832 | 662 | 682 | 849 | 940 | 1258 | 1500 | 1493 | 1503 | 1544 | 1271 | 1046 | 892 | 769 |  | 836 | 1083 | 1391 | 1550 | 1491.64 | 1446.77 | 1432.62 | 1277.11 | 999.75 | 927.6 | 763.7 | 693.81 | 859.01 | 1046.68 | 1191.76 | 1520.99 | 1534.63 | 1539.92 | 1487.21 | 1253.01 | 1111.07 | 917.01 | 702.73 | 702.27 | 762.2 | 1051.47 | 1254.89 | 1484.75 | 1502.54 | 1473.42 | 1309.62 | 1206.7 | 1004.24 | 1044.57 | 697.21 | 678.7 | 895.39 | 1022.82 | 1306.59 | 1470.37
Notes:
1. Newfoundland Power bulk sales, CP and NCP reflect deliveries from NLH. CP and NCP includes minor amounts of wheeled power for NLH.
2. Newfoundland Power native loads reflect total Newfoundland Power customer load requirements (including Newfoundland Power generation).
3. Industrial bulk sales reflect deliveries from Nhydro. NCP reflects the sum of individual customer maximum kW loads for each month.
4. Hydro Rural CP and NCP excludes minor amounts of wheeled power through Newfoundland Power system.
5. Transmission losses may include non-firm deliveries to industrial customers.
6. Hydro System requirement MW includes transmission losses and station service requirements.

## LIS
Labrador Interconnected System (LIS)
 | time axis 2009-01-01 to 2018-12-01
Hydro Rural
Bulk Sales (MWh) | 73276 | 57609 | 59822 | 43671 | 34882 | 24142 | 18605 | 19748 | 27436 | 47040 | 50673 | 65699 | 71360 | 56759 | 60181 | 44321 | 39324 | 27464 | 21591 | 21140 | 26992 | 42901 | 53583 | 61066 | 70973 | 70056 | 67941 | 54837 | 41205 | 28139 | 23023 | 22074 | 27159 | 41983 | 58469 | 76122 | 80459 | 69322 | 65407 | 48530 | 40002 | 24926 | 22207 | 21936 | 26408 | 43639 | 51917 | 68402 | 80889 | 67869 | 58529 | 48087 | 37403 | 27782 | 21076 | 22850 | 30030 | 39797 | 56775 | 87052 | 86840 | 75906 | 76073 | 54443 | 40044 | 25424 | 23634 | 21925 | 31599 | 41187 | 63492 | 78703 | 93207 | 82856 | 76212 | 56915 | 42201 | 28049 | 23755 | 22426 | 28221 | 46656 | 59685 | 74402 | 82088 | 77578 | 75179 | 57724 | 37564 | 29289 | 23566 | 23610 | 30290 | 44614 | 58218 | 86283 | 87031 | 77683 | 78443 | 59270 | 45177 | 32799 | 29937 | 29999 | 35136 | 48353 | 66296 | 83949 | 94040 | 85263 | 69520 | 65140 | 54745 | 39803 | 31652 | 31358 | 36860 | 56171 | 68394 | 80263
CP (kW) | 125466 | 98812 | 98993 | 74660 | 54686 | 41373 | 43459 | 29891 | 46346 | 88974 | 76440 | 95879 | 108268 | 108984 | 91458 | 61472 | 62613 | 46988 | 38822 | 27205 | 45134 | 57209 | 73275 | 90807 | 106911 | 121773 | 110784 | 59670 | 59572 | 56163 | 24686 | 29838 | 50420 | 71710 | 94643 | 113924 | 120616 | 114845 | 125969 | 69678 | 62172 | 37798 | 29847 | 25622 | 35756 | 54926 | 102152 | 113939 | 122908 | 106222 | 116016 | 83392 | 61855 | 52988 | 28128 | 31567 | 56060 | 79635 | 104891 | 132582 | 124492 | 123575 | 130749 | 69968 | 57979 | 35944 | 32550 | 28277 | 55200 | 55953 | 110412 | 114831 | 138109 | 135293 | 124532 | 105758 | 64334 | 58608 | 31822 | 32363 | 42697 | 74946 | 107769 | 112163 | 128001 | 115651 | 114802 | 108084 | 67960 | 49860 | 37267 | 33987 | 53576 | 72775 | 95451 | 127117 | 142903 | 137123 | 127736 | 102502 | 83473 | 51383 | 42036 | 42959 | 43507 | 84312 | 100199 | 116181 | 148271 | 141296 | 105793 | 127662 | 95179 | 53206 | 46461 | 48737 | 60528 | 94020 | 109676 | 109310
NCP (kW) | 127759 | 108687 | 110151 | 77045 | 65494 | 52927 | 43459 | 43223 | 54052 | 88974 | 80159 | 108521 | 112411 | 121960 | 95617 | 75621 | 64482 | 50938 | 39169 | 31193 | 50186 | 69160 | 87861 | 92456 | 122741 | 129268 | 117715 | 95886 | 66517 | 56163 | 37023 | 39606 | 51351 | 72272 | 99158 | 123347 | 128931 | 125207 | 125969 | 87776 | 71843 | 50181 | 36334 | 31515 | 43500 | 65014 | 102287 | 115140 | 133901 | 133220 | 117570 | 89632 | 67916 | 63972 | 34482 | 40410 | 67002 | 86115 | 104891 | 136700 | 146453 | 134214 | 130749 | 85936 | 59218 | 49226 | 36836 | 37392 | 59326 | 72824 | 112771 | 134359 | 145757 | 142650 | 129836 | 106278 | 73471 | 60315 | 43814 | 37040 | 51973 | 80829 | 107769 | 118155 | 136604 | 117057 | 126122 | 112466 | 71716 | 57847 | 42359 | 37452 | 60308 | 89783 | 95811 | 127370 | 143703 | 144246 | 131271 | 107854 | 87263 | 61027 | 51298 | 49714 | 66746 | 84993 | 112242 | 137779 | 152343 | 150139 | 117340 | 127662 | 97942 | 97576 | 51093 | 49775 | 74478 | 98597 | 125712 | 134151
Industrial
Bulk Sales (MWh) | 16370 | 12571 | 11999 | 3250 | 2696 | 4283 | 57 | 1650 | 11768 | 22982 | 35757 | 38602 | 46534 | 33193 | 29334 | 24173 | 26299 | 16729 | 19213 | 15831 | 12752 | 24362 | 28555 | 26071 | 35404 | 29352 | 17715 | 7233 | 6916 | 7307 | 4898 | 2779 | 311 | 660 | 2344 | 14042 | 23594 | 23710 | 23417 | 19055 | 15714 | 4874 | 6362 | 1465 | 4613 | 9404 | 23911 | 24132 | 12238 | 17336 | 34711 | 27021 | 23830 | 8661 | 3937 | 6835 | 8487 | 13406 | 19626 | 24588 | 159840 | 163110 | 162436 | 164048 | 144048 | 105447 | 120427 | 118885 | 132300 | 142601 | 148359 | 153622 | 149686 | 148454 | 154062 | 151122 | 148976 | 124225 | 142766 | 140617 | 132294 | 135671 | 126318 | 154271 | 160982 | 149526 | 154628 | 150740 | 151036 | 121388 | 135383 | 136886 | 127950 | 147202 | 154696 | 166214 | 158995 | 151477 | 168601 | 150473 | 140943 | 112135 | 137723 | 143491 | 138286 | 133073 | 155431 | 162328 | 161409 | 153045 | 149703 | 39595 | 31276 | 105557 | 132924 | 130374 | 130684 | 131960 | 131380 | 159701
CP (kW) | 258857 | 255898 | 247097 | 221891 | 188048 | 226672 | 14100 | 239740 | 242599 | 211673 | 277628 | 294039 | 301562 | 301305 | 268634 | 265472 | 265091 | 257261 | 248585 | 234317 | 207571 | 262720 | 287415 | 271367 | 288496 | 271875 | 251907 | 134992 | 242388 | 211952 | 238566 | 226086 | 205718 | 212954 | 215491 | 275446 | 274775 | 273767 | 257228 | 267501 | 252528 | 233494 | 234435 | 212976 | 236371 | 221110 | 261149 | 258743 | 265299 | 284320 | 287738 | 274903 | 239514 | 246762 | 230483 | 228915 | 203242 | 251354 | 250233 | 268102 | 263034 | 266457 | 260973 | 258490 | 226960 | 204224 | 201226 | 202851 | 208480 | 231779 | 243463 | 240603 | 237238 | 240918 | 234466 | 237429 | 227675 | 217942 | 205426 | 225107 | 221212 | 220953 | 208281 | 229569 | 239773 | 245682 | 242100 | 228669 | 231321 | 209628 | 211805 | 206778 | 214578 | 229708 | 239645 | 242975 | 238703 | 243248 | 244689 | 240722 | 212689 | 203927 | 216778 | 217122 | 219710 | 212535 | 235386 | 264300 | 246833 | 248526 | 255335 | 71688 | 44843 | 214527 | 218262 | 209359 | 197571 | 197854 | 238310 | 263662
NCP (kW) | 269507 | 267101 | 260634 | 228057 | 233820 | 234330 | 206185 | 244572 | 253491 | 274425 | 283878 | 297431 | 305366 | 304435 | 286838 | 276464 | 276566 | 268404 | 258605 | 257814 | 260556 | 271075 | 289453 | 288579 | 298564 | 293286 | 270003 | 256615 | 249290 | 243299 | 240954 | 234477 | 227680 | 227661 | 236563 | 280413 | 277738 | 277680 | 277910 | 269126 | 264448 | 247862 | 241894 | 228176 | 246749 | 257005 | 270666 | 274247 | 278877 | 297021 | 298986 | 297840 | 272400 | 262230 | 240010 | 240947 | 246653 | 259213 | 268585 | 281347 | 279418 | 295508 | 263865 | 261063 | 232522 | 208334 | 205463 | 204650 | 224046 | 233734 | 247823 | 251882 | 241914 | 244906 | 243043 | 241125 | 234560 | 223525 | 220414 | 225146 | 223011 | 222918 | 224238 | 243326 | 248694 | 253033 | 247543 | 245704 | 234436 | 217318 | 212609 | 208759 | 215874 | 236624 | 246238 | 249625 | 246578 | 247009 | 249072 | 248538 | 223753 | 244884 | 221985 | 219022 | 222697 | 229026 | 242347 | 268089 | 263379 | 257327 | 255433 | 73854 | 86011 | 215248 | 223789 | 209528 | 207893 | 202822 | 239940 | 264116
Transmission Losses
(MWh) | 9244 | 7308 | 6860 | 3957 | 3013 | 1992 | 415 | 4259 | 3768 | 5727 | 9022 | 11563 | 13019 | 7923 | 8695 | 6944 | 6282 | 3586 | 3813 | 3263 | 3444 | 6728 | 8281 | 9083 | 11831 | 10219 | 7310 | 6478 | 4082 | 2782 | 2525 | 2097 | 2435 | 3486 | 6544 | 10137 | 10802 | 9743 | 8759 | 6653 | 4327 | 2613 | 2649 | 2470 | 3522 | 5392 | 9309 | 9419 | 9738 | 9419 | 10533 | 7094 | 5989 | 2426 | 2357 | 2567 | 2916 | 5969 | 9081 | 11704 | 18955 | 17074 | 16511 | 14673 | 3883 | 12616 | 14309 | 14597 | 9667 | 11530 | 6455 | 7740 | 16928 | 16027 | 14471 | 12525 | 11313 | 8650 | 9186 | 9314 | 11029 | 13240 | 76417 | 15428 | 16206 | 14735 | 14177 | 13414 | 10527 | 7626 | 8809 | 8580 | 9966 | 12412 | 13760 | 18140 | 17508 | 15831 | 16760 | 12655 | 9657 | 9319 | 9574 | 9652 | 10327 | 11443 | 11654 | 15005 | 13650 | 14355 | 10338 | 6056 | 4719 | 9644 | 8064 | 8958 | 11991 | 20174 | 19066 | 23301
(kW) | 17925 | 16890 | 15081 | 9499 | 24864 | 6726 | 1898 | 7437 | 8552 | 12741 | 16568 | 21308 | 23672 | 24115 | 18478 | 12718 | 15208 | 10155 | 9010 | 6432 | 6444 | 11811 | 17279 | 34725 | 20913 | 39737 | 18491 | 88591 | 10018 | 8147 | 6278 | 5198 | 6023 | 8725 | 13614 | 20667 | 21330 | 20278 | 19657 | 13560 | 12117 | 6822 | 6471 | 8591 | 13232 | 18700 | 16448 | 17884 | 20634 | 22069 | 23317 | 17193 | 14274 | 13208 | 6907 | 6838 | 7955 | 14024 | 20037 | 27236 | 25612 | 26568 | 26086 | 31189 | 24070 | 12789 | 7144 | 5719 | 15381 | 13826 | 24834 | 20229 | 34196 | 34424 | 35587 | 29396 | 29192 | 18579 | 30515 | 14317 | 16171 | 26357 | 44338 | 46889 | 34406 | 51049 | 33164 | 26962 | 20683 | 13587 | 14082 | 14130 | 14976 | 25191 | 38558 | 47238 | 31789 | 32997 | 27948 | 29028 | 23259 | 14441 | 15518 | 14818 | 24659 | 14754 | 24682 | 27843 | 25108 | 22918 | 25344 | 17508 | 10870 | 13533 | 16419 | 13146 | 29277 | 36936 | 22973 | 42341
Hydro System Requirement
(MWh) | 98890 | 77490 | 78680 | 50880 | 40590 | 30420 | 19080 | 25660 | 42970 | 75750 | 95450 | 115860 | 130910 | 97880 | 98210 | 75440 | 71900 | 47780 | 44620 | 40230 | 43190 | 73990 | 90420 | 96220 | 118210 | 109630 | 92970 | 68550 | 52200 | 38230 | 30450 | 26950 | 29900 | 46130 | 67360 | 100300 | 114850 | 102780 | 97580 | 74240 | 60040 | 32410 | 31220 | 25870 | 34540 | 58440 | 85140 | 101950 | 102870 | 94620 | 103770 | 82200 | 67220 | 38870 | 27370 | 32250 | 41430 | 59170 | 85480 | 123340 | 265630 | 256090 | 255020 | 233160 | 187970 | 143490 | 158370 | 155410 | 173570 | 195320 | 218310 | 240070 | 259820 | 247340 | 244740 | 220560 | 202490 | 160920 | 175710 | 172360 | 171540 | 195570 | 262420 | 244100 | 259280 | 241840 | 243980 | 221880 | 199130 | 158300 | 167760 | 169080 | 168210 | 204230 | 226670 | 270640 | 263530 | 244990 | 263800 | 222400 | 195780 | 154250 | 177230 | 183140 | 183750 | 192870 | 233380 | 261280 | 269100 | 252660 | 229560 | 110790 | 90740 | 155000 | 172640 | 170690 | 179540 | 208310 | 218840 | 263270
(MW) | 402.25 | 371.6 | 361.17 | 306.05 | 267.6 | 274.77 | 59.46 | 277.07 | 297.5 | 313.39 | 370.64 | 411.23 | 433.5 | 434.4 | 378.57 | 339.66 | 342.91 | 314.4 | 296.42 | 267.95 | 259.15 | 331.74 | 377.97 | 396.9 | 416.32 | 433.39 | 381.18 | 283.25 | 311.98 | 276.26 | 269.53 | 261.12 | 262.16 | 293.39 | 323.75 | 410.04 | 416.72 | 408.89 | 402.85 | 350.74 | 326.82 | 278.11 | 270.75 | 247.19 | 285.36 | 294.74 | 379.75 | 390.57 | 408.84 | 412.61 | 427.07 | 375.49 | 315.64 | 312.96 | 265.52 | 267.32 | 267.26 | 345.01 | 375.16 | 427.92 | 413.14 | 416.6 | 417.81 | 359.65 | 309.01 | 252.96 | 240.92 | 236.85 | 279.06 | 301.56 | 378.71 | 375.66 | 409.54 | 410.64 | 394.59 | 372.58 | 321.2 | 295.13 | 267.76 | 271.79 | 280.08 | 322.26 | 360.39 | 388.62 | 402.18 | 412.38 | 390.07 | 363.72 | 319.96 | 273.08 | 263.15 | 254.9 | 283.13 | 327.67 | 373.65 | 417.33 | 413.4 | 413.37 | 400.37 | 372.25 | 319.42 | 269.75 | 274.33 | 274.9 | 287.88 | 311.6 | 360.27 | 408.32 | 420.21 | 412.74 | 386.47 | 216.86 | 150.89 | 281.27 | 281.14 | 271.24 | 287.38 | 328.81 | 370.96 | 415.313
Notes:
1. Industrial bulk energy sales reflects Hydro supply only, Twinco energy deliveries prior to 2014 are not included.
2. Industrial CP MW and NCP MW includes Twinco deliveries for all years.
3. Total GWh energy requirements reflects Hydro supply only, Twinco energy deliveries prior to 2014 are not included.
4. Total MW requirements includes Twinco deliveries for all years.

## Newfoundland Power Annual GWh
NEWFOUNDLAND POWER SYSTEM ENERGY STATISTICS
GWh
| Produced & | Produced &
| Purchased | Purchased | Weather Adjustment
Weather Normal
2000 | 4679.1318 | 4855 | 175.8682
2001 | 4790.389 | 4911 | 120.611
2002 | 5024.7886 | 5028 | 3.2114
2003 | 5044.5821 | 5150.3 | 105.7179
2004 | 5125.2467 | 5265.485 | 140.2383
2005 | 5120.8368 | 5298.8 | 177.9632
2006 | 5042.8089 | 5292.658 | 249.8491
2007 | 5370.5925 | 5394.456 | 23.8635
2008 | 5415.131 | 5513.8 | 98.669
2009 | 5535.1631 | 5614 | 78.8369
2010 | 5479.8412 | 5732.929 | 253.0878
2011 | 5786.8862 | 5877.833 | 90.9468
2012 | 5749.5164 | 5976.091 | 226.5746
2013 | 6049.216 | 6107.073 | 57.857
2014 | 6279.6184 | 6247.031 | -32.5874
2015 | 6445.9292 | 6309.366 | -136.5632
2016 | 6239.3389 | 6295.173 | 55.8341
2017 | 6265.0924 | 6265.598 | 0.50561
2018 | 6251.2489