## Option A_H
| CPW Analysis Results (2023-2049) - 25 Year Study 2023$000 - Real - Future Value | [27 empty] | A |  | A+ Renewables |  | B |  | B+ Renewables |  |  | C | C+ Renewables |  | C(N-1) |  | C(N-1)+ Renewables |  | C&NatGas |  | C&NatGas +Renewables |  | C(N-1)&Natgas |  | C(N-1)&Natgas +Renewables |  | D |  | D+Renewables |  | E |  | E+Renewables |  | F(i) |  | F(i)+Renewables |  | F(i)(N-1) |  | F(i)(N-1) +Renewables |  | F(ii) |  | F(ii) +Renewables |  | F(ii)(N-1) |  | F(ii)(N-1) +Renewables |  | F(iii) |  | F(iii)+Renewables |  | G |  | H
| Cumulative Cost - A | Cumulative Cost - A+Renew | Cumulative Cost - B | Cumulative Cost - B+Renew | Cumulative Cost - C | Cumulative Cost - C+Renew | Cumulative Cost - C(N-1) | Cumulative Cost - C(N-1)+Renew | Cumulative Cost - C&NatGas | Cumulative Cost - C&NatGas + Renew | Cumulative Cost - C&NatGas(N-1) | Cumulative Cost - C&NatGas(N-1)+Renew | Cumulative Cost - D | Cumulative Cost - D + Renew | Cumulative Cost - E | Cumulative Cost - E +Renew | Cumulative Cost - F(i) | Cumulative Cost - F(i) + Renew | Cumulative Cost - F(i)(N-1) | Cumulative Cost - F(i)(N-1) + Renew | Cumulative Cost - F(ii) | Cumulative Cost - F(ii) + Renew | Cumulative Cost - F(ii)(N-1) | Cumulative Cost - F(ii)(N-1) + Renew | Cumulative Cost - F(iii) | Cumulative Cost - F(iii) + Renew | Cumulative Cost - G | Cumulative Cost - H | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative | Total Costs (FV) | Cummulative
2023 | 17885.726 | 17885.726 | 17885.726 | 17885.726 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 17885.726 | 17885.726 | 17885.726 | 17885.726 | 14774.741 | 14774.741 | 14774.741 | 14774.741 | 15585.726 | 15585.726 | 15585.726 | 15585.726 | 17074.741 | 17074.741 | 17885.726 | 17885.726 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984
2024 | 41053.6173 | 41053.6173 | 51256.4159 | 51256.4159 | 84724.0252 | 84724.0252 | 80374.0252 | 80374.0252 | 88757.1753 | 88757.1753 | 84407.1753 | 84407.1753 | 68264.0044 | 68264.0044 | 68009.1083 | 68009.1083 | 81592.8172 | 81592.8172 | 77012.8172 | 77012.8172 | 69089.8776 | 69089.8776 | 66039.8776 | 66039.8776 | 80755.5247 | 80755.5247 | 67774.183 | 70146.183 | 23167891.3268 | 41053617.3252 | 23167891.3268 | 41053617.3252 | 33370689.9377 | 51256415.9361 | 33370689.9377 | 51256415.9361 | 74354947.3106 | 84724025.2266 | 74354947.3106 | 84724025.2266 | 70004947.3106 | 80374025.2266 | 70004947.3106 | 80374025.2266 | 78388097.3621 | 88757175.278 | 78388097.3621 | 88757175.278 | 74038097.3621 | 84407175.278 | 74038097.3621 | 84407175.278 | 50378278.3926 | 68264004.391 | 50378278.3926 | 68264004.391 | 50123382.3352 | 68009108.3336 | 50123382.3352 | 68009108.3336 | 66818076.2396 | 81592817.238 | 66818076.2396 | 81592817.238 | 62238076.2396 | 77012817.238 | 62238076.2396 | 77012817.238 | 53504151.5837 | 69089877.5822 | 53504151.5837 | 69089877.5822 | 50454151.5837 | 66039877.5822 | 50454151.5837 | 66039877.5822 | 63680783.705 | 80755524.7034 | 63680783.705 | 80755524.7034 | 49888456.9656 | 67774182.964 | 52260456.9656 | 70146182.964
2025 | 50030.2086 | 50030.2086 | 60235.8059 | 60235.8059 | 91724.6619 | 91724.6619 | 87374.6619 | 87374.6619 | 97001.7766 | 97001.7766 | 92651.7766 | 92651.7766 | 76850.6366 | 76850.6366 | 76595.7406 | 76595.7406 | 89091.297 | 89091.297 | 84511.297 | 84511.297 | 77492.8793 | 77492.8793 | 74442.8793 | 74442.8793 | 88686.2157 | 88686.2157 | 77620.9938 | 82364.9938 | 8976591.313 | 50030208.6382 | 8976591.313 | 50030208.6382 | 8979389.9239 | 60235805.8601 | 8979389.9239 | 60235805.8601 | 7000636.6973 | 91724661.9239 | 7000636.6973 | 91724661.9239 | 7000636.6973 | 87374661.9239 | 7000636.6973 | 87374661.9239 | 8244601.2951 | 97001776.5732 | 8244601.2951 | 97001776.5732 | 8244601.2951 | 92651776.5732 | 8244601.2951 | 92651776.5732 | 8586632.2214 | 76850636.6124 | 8586632.2214 | 76850636.6124 | 8586632.2214 | 76595740.555 | 8586632.2214 | 76595740.555 | 7498479.789 | 89091297.027 | 7498479.789 | 89091297.027 | 7498479.789 | 84511297.027 | 7498479.789 | 84511297.027 | 8403001.7161 | 77492879.2982 | 8403001.7161 | 77492879.2982 | 8403001.7161 | 74442879.2982 | 8403001.7161 | 74442879.2982 | 7930690.9509 | 88686215.6543 | 7930690.9509 | 88686215.6543 | 9846810.7944 | 77620993.7584 | 12218810.7944 | 82364993.7584
2026 | 58116.2272 | 58116.2272 | 68324.6231 | 68324.6231 | 98311.5192 | 98311.5192 | 93961.5192 | 93961.5192 | 105055.7148 | 105055.7148 | 100705.7148 | 100705.7148 | 84559.742 | 84559.742 | 84304.8459 | 84304.8459 | 96005.3957 | 96005.3957 | 91425.3957 | 91425.3957 | 85030.568 | 85030.568 | 81980.568 | 81980.568 | 96020.3116 | 96020.3116 | 86590.2777 | 93706.2777 | 8086018.5896 | 58116227.2277 | 8086018.5896 | 58116227.2277 | 8088817.2005 | 68324623.0606 | 8088817.2005 | 68324623.0606 | 6586857.2695 | 98311519.1934 | 6586857.2695 | 98311519.1934 | 6586857.2695 | 93961519.1934 | 6586857.2695 | 93961519.1934 | 8053938.2255 | 105055714.7986 | 8053938.2255 | 105055714.7986 | 8053938.2255 | 100705714.7986 | 8053938.2255 | 100705714.7986 | 7709105.3507 | 84559741.9631 | 7709105.3507 | 84559741.9631 | 7709105.3507 | 84304845.9058 | 7709105.3507 | 84304845.9058 | 6914098.66 | 96005395.6869 | 6914098.66 | 96005395.6869 | 6914098.66 | 91425395.6869 | 6914098.66 | 91425395.6869 | 7537688.7398 | 85030568.038 | 7537688.7398 | 85030568.038 | 7537688.7398 | 81980568.038 | 7537688.7398 | 81980568.038 | 7334095.9275 | 96020311.5818 | 7334095.9275 | 96020311.5818 | 8969283.9237 | 86590277.6821 | 11341283.9237 | 93706277.6821
2027 | 69050.678 | 69050.678 | 79261.8724 | 79261.8724 | 104449.2461 | 104449.2461 | 100099.2461 | 100099.2461 | 112902.7008 | 112902.7008 | 108552.7008 | 108552.7008 | 95131.4399 | 95131.4399 | 94876.5438 | 94876.5438 | 104571.289 | 104571.289 | 99991.289 | 99991.289 | 94856.7376 | 94856.7376 | 91806.7376 | 91806.7376 | 105580.314 | 105580.314 | 99429.5542 | 111289.5542 | 10934450.7496 | 69050677.9774 | 10934450.7496 | 69050677.9774 | 10937249.3606 | 79261872.4211 | 10937249.3606 | 79261872.4211 | 6137726.9383 | 104449246.1317 | 6137726.9383 | 104449246.1317 | 6137726.9383 | 100099246.1317 | 6137726.9383 | 100099246.1317 | 7846986.014 | 112902700.8126 | 7846986.014 | 112902700.8126 | 7846986.014 | 108552700.8126 | 7846986.014 | 108552700.8126 | 10571697.9252 | 95131439.8883 | 10571697.9252 | 95131439.8883 | 10571697.9252 | 94876543.831 | 10571697.9252 | 94876543.831 | 8565893.3368 | 104571289.0237 | 8565893.3368 | 104571289.0237 | 8565893.3368 | 99991289.0237 | 8565893.3368 | 99991289.0237 | 9826169.5169 | 94856737.555 | 9826169.5169 | 94856737.555 | 9826169.5169 | 91806737.555 | 9826169.5169 | 91806737.555 | 9560002.4016 | 105580313.9834 | 9560002.4016 | 105580313.9834 | 12839276.4982 | 99429554.1803 | 17583276.4982 | 111289554.1803
2028 | 80192.9321 | 79816.7728 | 90406.9251 | 90030.7659 | 112451.8168 | 112012.1547 | 108101.8168 | 107662.1547 | 122726.4567 | 121376.2019 | 118376.4567 | 117026.2019 | 104554.3458 | 103905.6639 | 105662.5895 | 105013.9076 | 113448.2951 | 113004.2707 | 107959.5353 | 107515.5108 | 103861.6328 | 103442.1829 | 100257.511 | 99838.061 | 116841.6892 | 116461.7094 | 111675.2623 | 125907.2623 | 11142254.0963 | 80192932.0737 | 10766094.8214 | 79816772.7988 | 11145052.7073 | 90406925.1284 | 10768893.4323 | 90030765.8535 | 8002570.6867 | 112451816.8184 | 7562908.5479 | 112012154.6796 | 8002570.6867 | 108101816.8184 | 7562908.5479 | 107662154.6796 | 9823755.8528 | 122726456.6655 | 8473501.131 | 121376201.9436 | 9823755.8528 | 118376456.6655 | 8473501.131 | 117026201.9436 | 9422905.9255 | 104554345.8138 | 8774223.9809 | 103905663.8693 | 10786045.7105 | 105662589.5414 | 10137363.7659 | 105013907.5969 | 8877006.0976 | 113448295.1213 | 8432981.6784 | 113004270.7022 | 7968246.241 | 107959535.2647 | 7524221.8218 | 107515510.8455 | 9004895.2857 | 103861632.8407 | 8585445.3318 | 103442182.8868 | 8450773.4219 | 100257510.9769 | 8031323.468 | 99838061.023 | 11261375.1717 | 116841689.1552 | 10881395.4384 | 116461709.4219 | 12245708.1544 | 111675262.3347 | 14617708.1544 | 125907262.3347
2029 | 89304.2567 | 88609.0289 | 99521.0483 | 98825.8206 | 118180.6852 | 117402.0042 | 113830.6852 | 113052.0042 | 130385.0471 | 127730.9125 | 126035.0471 | 123380.9125 | 113570.7044 | 112384.3489 | 114424.052 | 113237.6966 | 119745.3536 | 118948.8392 | 114256.5937 | 113460.0794 | 111315.6642 | 110552.3907 | 107711.5424 | 106948.2688 | 124949.6554 | 124262.969 | 121951.7995 | 138555.7995 | 9111324.6073 | 89304256.681 | 8792256.1275 | 88609028.9263 | 9114123.2182 | 99521048.3466 | 8795054.7385 | 98825820.5919 | 5728868.3518 | 118180685.1702 | 5389849.4951 | 117402004.1747 | 5728868.3518 | 113830685.1702 | 5389849.4951 | 113052004.1747 | 7658590.3908 | 130385047.0563 | 6354710.5147 | 127730912.4583 | 7658590.3908 | 126035047.0563 | 6354710.5147 | 123380912.4583 | 9016358.5461 | 113570704.3599 | 8478685.0583 | 112384348.9275 | 8761462.4887 | 114424052.0302 | 8223789.0009 | 113237696.5978 | 6297058.4379 | 119745353.5593 | 5944568.5301 | 118948839.2323 | 6297058.4379 | 114256593.7026 | 5944568.5301 | 113460079.3757 | 7454031.3958 | 111315664.2365 | 7110207.8177 | 110552390.7045 | 7454031.3958 | 107711542.3727 | 7110207.8177 | 106948268.8407 | 8107966.2447 | 124949655.3999 | 7801259.5642 | 124262968.9861 | 10276537.1191 | 121951799.4538 | 12648537.1191 | 138555799.4538
2030 | 113438.8843 | 112474.273 | 123658.4746 | 122693.8633 | 123807.4705 | 122740.8122 | 119457.4705 | 118390.8122 | 137996.5992 | 134062.1039 | 133646.5992 | 129712.1039 | 143618.6745 | 142047.2533 | 138272.0361 | 136645.7678 | 125855.4886 | 124752.9064 | 120366.7288 | 119264.1465 | 133165.7993 | 132164.4729 | 129561.6775 | 128560.3511 | 131451.4485 | 130495.216 | 145275.1904 | 164251.1904 | 24134627.6558 | 113438884.3367 | 23865244.1147 | 112474273.0409 | 24137426.2667 | 123658474.6133 | 23868042.7256 | 122693863.3175 | 5626785.3581 | 123807470.5282 | 5338807.9983 | 122740812.173 | 5626785.3581 | 119457470.5282 | 5338807.9983 | 118390812.173 | 7611552.1486 | 137996599.2049 | 6331191.3936 | 134062103.8519 | 7611552.1486 | 133646599.2049 | 6331191.3936 | 129712103.8519 | 30047970.1387 | 143618674.4986 | 29662904.3313 | 142047253.2588 | 23847984.0629 | 138272036.0931 | 23408071.1895 | 136645767.7873 | 6110135.0847 | 125855488.644 | 5804067.1375 | 124752906.3698 | 6110135.0847 | 120366728.7874 | 5804067.1375 | 119264146.5131 | 21850135.0847 | 133165799.3213 | 21612082.2369 | 132164472.9413 | 21850135.0847 | 129561677.4575 | 21612082.2369 | 128560351.0775 | 6501793.0582 | 131451448.4581 | 6232246.9929 | 130495215.979 | 23323390.9746 | 145275190.4284 | 25695390.9746 | 164251190.4284
2031 | 120186.8854 | 118967.9881 | 130409.2743 | 129190.3769 | 129380.1085 | 128052.5465 | 125030.1085 | 123702.5465 | 145583.2011 | 140380.8201 | 141233.2011 | 136030.8201 | 149944.0912 | 148015.7626 | 144675.1007 | 142638.261 | 131744.6686 | 130360.6417 | 126255.9087 | 124871.8819 | 139054.9793 | 137834.7515 | 135450.8574 | 134230.6297 | 137730.6881 | 136524.6204 | 153573.4279 | 177293.4279 | 6748001.0419 | 120186885.3787 | 6493715.0145 | 118967988.0554 | 6750799.6529 | 130409274.2662 | 6496513.6254 | 129190376.943 | 5572637.9927 | 129380108.5209 | 5311734.3156 | 128052546.4886 | 5572637.9927 | 125030108.5209 | 5311734.3156 | 123702546.4886 | 7586601.892 | 145583201.0969 | 6318716.2653 | 140380820.1171 | 7586601.892 | 141233201.0969 | 6318716.2653 | 136030820.1171 | 6325416.6739 | 149944091.1725 | 5968509.3193 | 148015762.5781 | 6403064.6353 | 144675100.7284 | 5992493.1961 | 142638260.9834 | 5889179.9357 | 131744668.5797 | 5607735.3539 | 130360641.7237 | 5889179.9357 | 126255908.7231 | 5607735.3539 | 124871881.8671 | 5889179.9357 | 139054979.257 | 5670278.5943 | 137834751.5357 | 5889179.9357 | 135450857.3932 | 5670278.5943 | 134230629.6719 | 6279239.5933 | 137730688.0514 | 6029404.4451 | 136524620.4241 | 8298237.5097 | 153573427.9381 | 13042237.5097 | 177293427.9381
2032 | 127445.7535 | 125991.6957 | 137670.941 | 136216.8832 | 134884.1527 | 133329.9839 | 130534.1527 | 128979.9839 | 153138.196 | 146683.7329 | 148788.196 | 142333.7329 | 156785.5348 | 154535.97 | 151591.1951 | 149180.9537 | 137564.5311 | 135930.2525 | 132075.7712 | 130441.4926 | 144874.8417 | 143459.9738 | 141270.7199 | 139855.8519 | 144525.9546 | 143095.0216 | 205705.8924 | 336165.8924 | 7258868.1655 | 127445753.5441 | 7023707.6511 | 125991695.7065 | 7261666.7764 | 137670941.0426 | 7026506.262 | 136216883.205 | 5504044.1722 | 134884152.6931 | 5277437.4054 | 133329983.894 | 5504044.1722 | 130534152.6931 | 5277437.4054 | 128979983.894 | 7554994.9355 | 153138196.0325 | 6302912.787 | 146683732.9042 | 7554994.9355 | 148788196.0325 | 6302912.787 | 142333732.9042 | 6841443.6579 | 156785534.8304 | 6520207.3991 | 154535969.9772 | 6916094.4205 | 151591195.1489 | 6542692.6765 | 149180953.6599 | 5819862.4887 | 137564531.0684 | 5569610.7581 | 135930252.4818 | 5819862.4887 | 132075771.2118 | 5569610.7581 | 130441492.6251 | 5819862.4887 | 144874841.7457 | 5625222.2538 | 143459973.7894 | 5819862.4887 | 141270719.8819 | 5625222.2538 | 139855851.9256 | 6795266.5773 | 144525954.6287 | 6570401.1962 | 143095021.6203 | 52132464.4938 | 205705892.4319 | 158872464.4938 | 336165892.4319
2033 | 138774.4514 | 137099.9889 | 145899.3551 | 144224.8926 | 142657.6907 | 140903.3761 | 138307.6907 | 136553.3761 | 162991.2211 | 155296.8687 | 158641.2211 | 150946.8687 | 162984.567 | 160441.287 | 159225.7054 | 156470.7396 | 146207.451 | 144346.9868 | 139809.9313 | 137949.467 | 153063.3817 | 151472.5916 | 148905.138 | 147314.3479 | 153100.9674 | 151464.4338 | 270875.1371 | 505615.4579 | 11328697.8897 | 138774451.4338 | 11108293.2059 | 137099988.9124 | 8228414.0634 | 145899355.106 | 8008009.3795 | 144224892.5845 | 7773538.0268 | 142657690.7199 | 7573392.218 | 140903376.112 | 7773538.0268 | 138307690.7199 | 7573392.218 | 136553376.112 | 9853025.1174 | 162991221.1499 | 8613135.7633 | 155296868.6674 | 9853025.1174 | 158641221.1499 | 8613135.7633 | 150946868.6674 | 6199032.1264 | 162984566.9569 | 5905317.0456 | 160441287.0227 | 7634510.2571 | 159225705.406 | 7289785.8995 | 156470739.5594 | 8642919.9104 | 146207450.9788 | 8416734.2755 | 144346986.7572 | 7734160.0538 | 139809931.2656 | 7507974.4189 | 137949467.044 | 8188539.9821 | 153063381.7278 | 8012617.8216 | 151472591.611 | 7634418.1183 | 148905138.0002 | 7458495.9578 | 147314347.8834 | 8575012.752 | 153100967.3807 | 8369412.1953 | 151464433.8156 | 65169244.6699 | 270875137.1018 | 169449565.4696 | 505615457.9015
2034 | 146873.7831 | 144989.546 | 154001.4854 | 152117.2483 | 148070.6881 | 146135.2901 | 143720.6881 | 141785.2901 | 170504.2632 | 161578.805 | 166154.2632 | 157228.805 | 170872.8069 | 168055.6381 | 166985.1339 | 163906.1029 | 151935.3062 | 149865.9935 | 145537.7865 | 143468.4738 | 159245.6169 | 157492.3891 | 155087.3731 | 153334.1453 | 159380.4065 | 157552.1508 | 274794.7011 | 506751.1982 | 8099331.6894 | 146873783.1232 | 7889557.0861 | 144989545.9985 | 8102130.3003 | 154001485.4063 | 7892355.6971 | 152117248.2816 | 5412997.379 | 148070688.0989 | 5231914.0087 | 146135290.1207 | 5412997.379 | 143720688.0989 | 5231914.0087 | 141785290.1207 | 7513042.0014 | 170504263.1513 | 6281936.32 | 161578804.9874 | 7513042.0014 | 166154263.1513 | 6281936.32 | 157228804.9874 | 7888239.9023 | 170872806.8592 | 7614351.041 | 168055638.0638 | 7759428.515 | 166985133.921 | 7435363.308 | 163906102.8674 | 5727855.2026 | 151935306.1815 | 5519006.7507 | 149865993.508 | 5727855.2026 | 145537786.4682 | 5519006.7507 | 143468473.7947 | 6182235.1309 | 159245616.8588 | 6019797.4461 | 157492389.0571 | 6182235.1309 | 155087373.1312 | 6019797.4461 | 153334145.3296 | 6279439.1658 | 159380406.5465 | 6087716.9629 | 157552150.7786 | 3919563.9754 | 274794701.0772 | 1135740.3258 | 506751198.2273
2035 | 170475.5404 | 168400.7026 | 177606.0413 | 175531.2035 | 153459.5167 | 151355.1197 | 149109.5167 | 147005.1197 | 178006.1685 | 167855.173 | 173656.1685 | 163505.173 | 180124.454 | 177087.4433 | 186747.75 | 183382.6206 | 157804.9742 | 155537.8037 | 151407.4545 | 149140.284 | 165115.2849 | 163142.2151 | 160957.0411 | 158983.9714 | 168920.0745 | 166871.9768 | 278712.6538 | 507886.9386 | 23601757.2859 | 170475540.4091 | 23411156.6131 | 168400702.6115 | 23604555.8968 | 177606041.3031 | 23413955.224 | 175531203.5056 | 5388828.5787 | 153459516.6776 | 5219829.6086 | 151355119.7293 | 5388828.5787 | 149109516.6776 | 5219829.6086 | 147005119.7293 | 7501905.3974 | 178006168.5486 | 6276368.0179 | 167855173.0053 | 7501905.3974 | 173656168.5486 | 6276368.0179 | 163505173.0053 | 9251647.1583 | 180124454.0175 | 9031805.2067 | 177087443.2704 | 19762616.118 | 186747750.0389 | 19476517.7687 | 183382620.6361 | 5869667.9942 | 157804974.1756 | 5671810.2377 | 155537803.7456 | 5869667.9942 | 151407454.4624 | 5671810.2377 | 149140284.0324 | 5869667.9942 | 165115284.8529 | 5649826.0425 | 163142215.0997 | 5869667.9942 | 160957041.1253 | 5649826.0425 | 158983971.3721 | 9539667.9942 | 168920074.5406 | 9319826.0425 | 166871976.8211 | 3917952.7221 | 278712653.7993 | 1135740.3258 | 507886938.5531
2036 | 176994.1004 | 174727.9021 | 184127.3999 | 181861.2016 | 158851.1005 | 156576.3269 | 154501.1005 | 152226.3269 | 185509.3435 | 174132.1758 | 181159.3435 | 169782.1758 | 185872.6489 | 182614.4041 | 192927.082 | 189274.378 | 163511.1899 | 161044.9088 | 157113.6702 | 154647.3891 | 170821.5006 | 168627.1967 | 166663.2568 | 164468.953 | 174626.2903 | 172356.9584 | 282630.7902 | 509022.6789 | 6518559.9682 | 176994100.3773 | 6327199.4851 | 174727902.0966 | 6521358.5792 | 184127399.8823 | 6329998.096 | 181861201.6016 | 5391583.7999 | 158851100.4775 | 5221207.2192 | 156576326.9485 | 5391583.7999 | 154501100.4775 | 5221207.2192 | 152226326.9485 | 7503174.9601 | 185509343.5087 | 6277002.7993 | 174132175.8046 | 7503174.9601 | 181159343.5087 | 6277002.7993 | 169782175.8046 | 5748194.8864 | 185872648.9039 | 5526960.7911 | 182614404.0616 | 6179331.9323 | 192927081.9712 | 5891757.3963 | 189274378.0324 | 5706215.7223 | 163511189.8979 | 5507105.0365 | 161044908.7821 | 5706215.7223 | 157113670.1846 | 5507105.0365 | 154647389.0689 | 5706215.7223 | 170821500.5752 | 5484981.627 | 168627196.7266 | 5706215.7223 | 166663256.8476 | 5484981.627 | 164468952.999 | 5706215.7223 | 174626290.2629 | 5484981.627 | 172356958.448 | 3918136.4035 | 282630790.2028 | 1135740.3258 | 509022678.8788
2037 | 183498.954 | 181044.8218 | 190635.0521 | 188180.9199 | 164230.2588 | 161791.3214 | 159880.2588 | 157441.3214 | 193006.793 | 180406.3159 | 188656.793 | 176056.3159 | 191608.2872 | 188135.0866 | 199093.0993 | 195159.4781 | 169204.849 | 166545.1077 | 162807.3293 | 160147.588 | 176515.1597 | 174105.9001 | 172356.916 | 169947.6563 | 180319.9494 | 177835.6618 | 286548.0982 | 510158.4192 | 6504853.585 | 183498953.9624 | 6316919.6977 | 181044821.7943 | 6507652.196 | 190635052.0783 | 6319718.3086 | 188180919.9102 | 5379158.2926 | 164230258.7701 | 5214994.4656 | 161791321.4141 | 5379158.2926 | 159880258.7701 | 5214994.4656 | 157441321.4141 | 7497449.4812 | 193006792.9899 | 6274140.0599 | 180406315.8645 | 7497449.4812 | 188656792.9899 | 6274140.0599 | 176056315.8645 | 5735638.2969 | 191608287.2008 | 5520682.4964 | 188135086.558 | 6166017.3069 | 199093099.2782 | 5885100.0836 | 195159478.116 | 5693659.1328 | 169204849.0307 | 5500198.9123 | 166545107.6944 | 5693659.1328 | 162807329.3174 | 5500198.9123 | 160147587.9812 | 5693659.1328 | 176515159.708 | 5478703.3322 | 174105900.0589 | 5693659.1328 | 172356915.9804 | 5478703.3322 | 169947656.3313 | 5693659.1328 | 180319949.3957 | 5478703.3322 | 177835661.7803 | 3917308.0363 | 286548098.2391 | 1135740.3258 | 510158419.2046
2038 | 192381.2613 | 189735.6168 | 199520.1581 | 196874.5135 | 172694.8092 | 170085.2198 | 168344.8092 | 165735.2198 | 203582.6375 | 189755.8613 | 199232.6375 | 185405.8613 | 197357.0387 | 193662.3257 | 206636.1612 | 202414.6704 | 178538.159 | 175679.0565 | 171231.8795 | 168372.7769 | 185394.0898 | 182763.3177 | 180681.7242 | 178050.9521 | 189198.8795 | 186493.0794 | 293028.895 | 513856.7832 | 8882307.3678 | 192381261.3301 | 8690794.981 | 189735616.7752 | 8885105.9787 | 199520158.057 | 8693593.5919 | 196874513.5021 | 8464550.4029 | 172694809.173 | 8293898.406 | 170085219.8201 | 8464550.4029 | 168344809.173 | 8293898.406 | 165735219.8201 | 10575844.5456 | 203582637.5355 | 9349545.4774 | 189755861.3418 | 10575844.5456 | 199232637.5355 | 9349545.4774 | 185405861.3418 | 5748751.5298 | 197357038.7306 | 5527239.1128 | 193662325.6708 | 7543061.9649 | 206636161.243 | 7255192.3051 | 202414670.4211 | 9333310 | 178538159.0307 | 9133948.8248 | 175679056.5192 | 8424550.1434 | 171231879.4608 | 8225188.9681 | 168372776.9493 | 8878930.0717 | 185394089.7797 | 8657417.6548 | 182763317.7136 | 8324808.2079 | 180681724.1883 | 8103295.791 | 178050952.1222 | 8878930.0717 | 189198879.4674 | 8657417.6548 | 186493079.435 | 6480796.7816 | 293028895.0207 | 3698363.9817 | 513856783.1863
2039 | 202514.8833 | 199678.2991 | 209656.5786 | 206819.9945 | 178084.8668 | 175305.6639 | 173734.8668 | 170955.6639 | 211085.1092 | 196032.5125 | 206735.1092 | 191682.5125 | 206720.4368 | 202805.2608 | 216430.6033 | 211922.3556 | 185492.8324 | 182435.3133 | 178186.5529 | 175129.0337 | 192803.1431 | 189951.9081 | 188090.7775 | 185239.5425 | 196607.9328 | 193681.6698 | 296946.9297 | 514992.5235 | 10133621.9464 | 202514883.2766 | 9942682.3486 | 199678299.1239 | 10136420.5574 | 209656578.6144 | 9945480.9596 | 206819994.4617 | 5390057.5871 | 178084866.7602 | 5220444.1128 | 175305663.9329 | 5390057.5871 | 173734866.7602 | 5220444.1128 | 170955663.9329 | 7502471.7052 | 211085109.2406 | 6276651.1718 | 196032512.5137 | 7502471.7052 | 206735109.2406 | 6276651.1718 | 191682512.5137 | 9363398.0926 | 206720436.8232 | 9142935.1541 | 202805260.8249 | 9794442.0297 | 216430603.2728 | 9507685.2049 | 211922355.626 | 6954673.4088 | 185492832.4395 | 6756256.7641 | 182435313.2833 | 6954673.4088 | 178186552.8696 | 6756256.7641 | 175129033.7134 | 7409053.3371 | 192803143.1167 | 7188590.3986 | 189951908.1122 | 7409053.3371 | 188090777.5253 | 7188590.3986 | 185239542.5208 | 7409053.3371 | 196607932.8044 | 7188590.3986 | 193681669.8336 | 3918034.656 | 296946929.6767 | 1135740.3258 | 514992523.5121
2040 | 209041.8677 | 206011.817 | 216186.3617 | 213156.3109 | 183484.0878 | 180530.6898 | 179134.0878 | 176180.6898 | 218591.8033 | 202311.2749 | 214241.8033 | 197961.2749 | 212476.3495 | 208336.0805 | 222618.1189 | 217818.2049 | 191206.766 | 187946.6631 | 183900.4864 | 180640.3835 | 198517.0766 | 195440.7486 | 193804.711 | 190728.383 | 202321.8663 | 199170.5104 | 300865.5752 | 516128.2638 | 6526984.4684 | 209041867.7449 | 6333517.8602 | 206011816.984 | 6529783.0793 | 216186361.6937 | 6336316.4711 | 213156310.9328 | 5399221.0217 | 183484087.7818 | 5225025.8301 | 180530689.763 | 5399221.0217 | 179134087.7818 | 5225025.8301 | 176180689.763 | 7506694.0721 | 218591803.3127 | 6278762.3553 | 202311274.869 | 7506694.0721 | 214241803.3127 | 6278762.3553 | 197961274.869 | 5755912.6766 | 212476349.4999 | 5530819.6862 | 208336080.5111 | 6187515.6421 | 222618118.9149 | 5895849.2512 | 217818204.8772 | 5713933.5125 | 191206765.9519 | 5511349.8211 | 187946663.1044 | 5713933.5125 | 183900486.382 | 5511349.8211 | 180640383.5345 | 5713933.5125 | 198517076.6292 | 5488840.5221 | 195440748.6343 | 5713933.5125 | 193804711.0378 | 5488840.5221 | 190728383.0429 | 5713933.5125 | 202321866.3169 | 5488840.5221 | 199170510.3557 | 3918645.5516 | 300865575.2283 | 1135740.3258 | 516128263.8379
2041 | 215576.8351 | 212351.322 | 222724.1277 | 219498.6146 | 188890.5457 | 185759.3341 | 184540.5457 | 181409.3341 | 226101.832 | 208591.7046 | 221751.832 | 204241.7046 | 218239.5754 | 213870.5568 | 228813.3893 | 223717.9315 | 196928.0127 | 193462.0352 | 189621.7332 | 186155.7557 | 204238.3234 | 200933.2458 | 199525.9578 | 196220.8802 | 208043.1131 | 204663.0075 | 304784.7032 | 517264.0042 | 6534967.3989 | 215576835.1438 | 6339505.058 | 212351322.0421 | 6537766.0098 | 222724127.7035 | 6342303.669 | 219498614.6018 | 5406457.939 | 188890545.7208 | 5228644.2887 | 185759334.0518 | 5406457.939 | 184540545.7208 | 5228644.2887 | 181409334.0518 | 7510028.73 | 226101832.0427 | 6280429.6843 | 208591704.5532 | 7510028.73 | 221751832.0427 | 6280429.6843 | 204241704.5532 | 5763225.9393 | 218239575.4392 | 5534476.3176 | 213870556.8287 | 6195270.4033 | 228813389.3182 | 5899726.6318 | 223717931.509 | 5721246.7752 | 196928012.7271 | 5515372.1156 | 193462035.22 | 5721246.7752 | 189621733.1572 | 5515372.1156 | 186155755.6501 | 5721246.7752 | 204238323.4044 | 5492497.1534 | 200933245.7877 | 5721246.7752 | 199525957.813 | 5492497.1534 | 196220880.1963 | 5721246.7752 | 208043113.0921 | 5492497.1534 | 204663007.5091 | 3919128.0128 | 304784703.2411 | 1135740.3258 | 517264004.1637
2042 | 222131.2336 | 218705.4004 | 229281.3248 | 225855.4916 | 194314.6189 | 190996.7859 | 189964.6189 | 186646.7859 | 233619.9776 | 214876.1926 | 229269.9776 | 210526.1926 | 224020.6024 | 219413.9337 | 235027.5354 | 229627.096 | 202667.0605 | 198987.1979 | 195360.781 | 191680.9183 | 209977.3712 | 206434.6435 | 205265.0056 | 201722.2779 | 213782.1609 | 210164.4052 | 308705.0056 | 518399.7445 | 6554398.467 | 222131233.6108 | 6354078.3592 | 218705400.4012 | 6557197.078 | 229281324.7815 | 6356876.9701 | 225855491.5719 | 5424073.1534 | 194314618.8742 | 5237451.896 | 190996785.9478 | 5424073.1534 | 189964618.8742 | 5237451.896 | 186646785.9478 | 7518145.5445 | 233619977.5872 | 6284488.0915 | 214876192.6447 | 7518145.5445 | 229269977.5872 | 6284488.0915 | 210526192.6447 | 5781026.9845 | 224020602.4237 | 5543376.8402 | 219413933.6689 | 6214146.0899 | 235027535.4081 | 5909164.4751 | 229627095.9841 | 5739047.8203 | 202667060.5474 | 5525162.6904 | 198987197.9105 | 5739047.8203 | 195360780.9775 | 5525162.6904 | 191680918.3406 | 5739047.8203 | 209977371.2247 | 5501397.676 | 206434643.4637 | 5739047.8203 | 205265005.6333 | 5501397.676 | 201722277.8723 | 5739047.8203 | 213782160.9124 | 5501397.676 | 210164405.1851 | 3920302.3604 | 308705005.6015 | 1135740.3258 | 518399744.4895
2043 | 230289.2468 | 226665.4748 | 237442.1366 | 233818.3646 | 202052.4729 | 198552.3362 | 197702.4729 | 194202.3362 | 243456.5601 | 223481.1071 | 239106.5601 | 219131.1071 | 229792.9034 | 224952.9475 | 242595.5685 | 236894.7739 | 211273.92 | 207384.0989 | 203058.8806 | 199169.0595 | 218129.8507 | 214353.8358 | 212863.3633 | 209087.3484 | 221934.6404 | 218083.5976 | 314437.356 | 521348.1085 | 8158013.2186 | 230289246.8294 | 7960074.369 | 226665474.7703 | 8160811.8295 | 237442136.611 | 7962872.98 | 233818364.5519 | 7737854.015 | 202052472.8892 | 7555550.2121 | 198552336.1598 | 7737854.015 | 197702472.8892 | 7555550.2121 | 194202336.1598 | 9836582.4845 | 243456560.0717 | 8604914.4468 | 223481107.0916 | 9836582.4845 | 239106560.0717 | 8604914.4468 | 219131107.0916 | 5772300.982 | 229792903.4056 | 5539013.8389 | 224952947.5078 | 7568033.0873 | 242595568.4954 | 7267677.8663 | 236894773.8503 | 8606859.4522 | 211273919.9996 | 8396901.0235 | 207384098.9339 | 7698099.5956 | 203058880.5731 | 7488141.1668 | 199169059.5074 | 8152479.5239 | 218129850.7486 | 7919192.3808 | 214353835.8446 | 7598357.6601 | 212863363.2934 | 7365070.517 | 209087348.3894 | 8152479.5239 | 221934640.4363 | 7919192.3808 | 218083597.566 | 5732350.3557 | 314437355.9572 | 2948363.9817 | 521348108.4712
2044 | 240202.941 | 236380.7113 | 247358.6293 | 243536.3996 | 207469.7924 | 203786.4112 | 203119.7924 | 199436.4112 | 250971.5936 | 229764.0392 | 246621.5936 | 225414.0392 | 238683.851 | 233609.6574 | 252169.2232 | 246167.0654 | 217006.1429 | 212905.5079 | 208791.1035 | 204690.4685 | 224316.4536 | 220306.201 | 219049.9661 | 215039.7135 | 228121.2433 | 224035.9627 | 318357.2081 | 522483.8488 | 9913694.124 | 240202940.9534 | 9715236.4818 | 236380711.2521 | 9916492.735 | 247358629.346 | 9718035.0928 | 243536399.6446 | 5417319.4882 | 207469792.3774 | 5234075.0634 | 203786411.2232 | 5417319.4882 | 203119792.3774 | 5234075.0634 | 199436411.2232 | 7515033.5615 | 250971593.6333 | 6282932.1 | 229764039.1916 | 7515033.5615 | 246621593.6333 | 6282932.1 | 225414039.1916 | 8890947.5915 | 238683850.9972 | 8656709.9036 | 233609657.4114 | 9573654.6799 | 252169223.1753 | 9272291.53 | 246167065.3803 | 5732222.9077 | 217006142.9073 | 5521408.9885 | 212905507.9224 | 5732222.9077 | 208791103.4808 | 5521408.9885 | 204690468.4959 | 6186602.836 | 224316453.5846 | 5952365.148 | 220306200.9926 | 6186602.836 | 219049966.1294 | 5952365.148 | 215039713.5374 | 6186602.836 | 228121243.2723 | 5952365.148 | 224035962.714 | 3919852.116 | 318357208.0732 | 1135740.3258 | 522483848.7969
2045 | 261721.8495 | 257706.3924 | 268880.3365 | 264864.8794 | 212887.3424 | 209020.6016 | 208537.3424 | 204670.6016 | 258486.7334 | 236047.0244 | 254136.7334 | 231697.0244 | 246501.401 | 241243.8477 | 268028.0851 | 261735.0281 | 230063.6929 | 225779.6983 | 224138.6535 | 219854.6588 | 237374.0036 | 233180.3913 | 232107.5162 | 227913.9039 | 241178.7933 | 236910.153 | 322277.0756 | 523619.5891 | 21518908.5899 | 261721849.5433 | 21325681.1185 | 257706392.3705 | 21521707.2008 | 268880336.5468 | 21328479.7294 | 264864879.374 | 5417550.0328 | 212887342.4102 | 5234190.3356 | 209020601.5588 | 5417550.0328 | 208537342.4102 | 5234190.3356 | 204670601.5588 | 7515139.7928 | 258486733.4261 | 6282985.2157 | 236047024.4073 | 7515139.7928 | 254136733.4261 | 6282985.2157 | 231697024.4073 | 7817550.0328 | 246501401.0299 | 7634190.3356 | 241243847.747 | 15858861.8771 | 268028085.0524 | 15567962.703 | 261735028.0833 | 13057550.0328 | 230063692.94 | 12874190.3356 | 225779698.2581 | 15347550.0328 | 224138653.5135 | 15164190.3356 | 219854658.8315 | 13057550.0328 | 237374003.6173 | 12874190.3356 | 233180391.3282 | 13057550.0328 | 232107516.1621 | 12874190.3356 | 227913903.873 | 13057550.0328 | 241178793.305 | 12874190.3356 | 236910153.0496 | 3919867.4857 | 322277075.5589 | 1135740.3258 | 523619589.1227
2046 | 268321.6771 | 264110.2627 | 275482.9627 | 271271.5483 | 218314.8375 | 214259.7644 | 213964.8375 | 209909.7644 | 266006.4557 | 242332.3009 | 261656.4557 | 237982.3009 | 251928.8961 | 246483.0106 | 274287.5523 | 267698.2935 | 235491.188 | 231018.8611 | 229566.1486 | 225093.8217 | 242801.4987 | 238419.5542 | 237535.0113 | 233153.0667 | 246606.2884 | 242149.3159 | 326197.606 | 524755.3294 | 6599827.5145 | 268321677.0579 | 6403870.3119 | 264110262.6825 | 6602626.1255 | 275482962.6723 | 6406668.9229 | 271271548.2969 | 5427495.0932 | 218314837.5034 | 5239162.8659 | 214259764.4247 | 5427495.0932 | 213964837.5034 | 5239162.8659 | 209909764.4247 | 7519722.3207 | 266006455.7468 | 6285276.4796 | 242332300.8869 | 7519722.3207 | 261656455.7468 | 6285276.4796 | 237982300.8869 | 5427495.0932 | 251928896.1232 | 5239162.8659 | 246483010.6129 | 6259467.2487 | 274287552.3011 | 5963265.3888 | 267698293.472 | 5427495.0932 | 235491188.0333 | 5239162.8659 | 231018861.1239 | 5427495.0932 | 229566148.6068 | 5239162.8659 | 225093821.6974 | 5427495.0932 | 242801498.7106 | 5239162.8659 | 238419554.1941 | 5427495.0932 | 237535011.2554 | 5239162.8659 | 233153066.7389 | 5427495.0932 | 246606288.3983 | 5239162.8659 | 242149315.9155 | 3920530.4897 | 326197606.0486 | 1135740.3258 | 524755329.4485
2047 | 274930.2631 | 270520.7019 | 282094.3473 | 277684.7861 | 223750.3099 | 219502.916 | 219400.3099 | 215152.916 | 273529.8539 | 248619.4153 | 269179.8539 | 244269.4153 | 257364.3685 | 251726.1621 | 280555.5265 | 273665.8124 | 240926.6604 | 236262.0127 | 235001.621 | 230336.9732 | 248236.9711 | 243662.7057 | 242970.4837 | 238396.2183 | 252041.7608 | 247392.4674 | 330118.6684 | 525891.0698 | 6608586.0102 | 274930263.0681 | 6410439.1837 | 270520701.8662 | 6611384.6212 | 282094347.2935 | 6413237.7947 | 277684786.0916 | 5435472.4145 | 223750309.9179 | 5243151.5265 | 219502915.9512 | 5435472.4145 | 219400309.9179 | 5243151.5265 | 215152915.9512 | 7523398.1452 | 273529853.892 | 6287114.3919 | 248619415.2787 | 7523398.1452 | 269179853.892 | 6287114.3919 | 244269415.2787 | 5435472.4145 | 257364368.5376 | 5243151.5265 | 251726162.1394 | 6267974.2313 | 280555526.5323 | 5967518.8801 | 273665812.3521 | 5435472.4145 | 240926660.4477 | 5243151.5265 | 236262012.6504 | 5435472.4145 | 235001621.0212 | 5243151.5265 | 230336973.2239 | 5435472.4145 | 248236971.125 | 5243151.5265 | 243662705.7206 | 5435472.4145 | 242970483.6698 | 5243151.5265 | 238396218.2654 | 5435472.4145 | 252041760.8127 | 5243151.5265 | 247392467.442 | 3921062.3111 | 330118668.3597 | 1135740.3258 | 525891069.7743
2048 | 282813.259 | 278227.7334 | 289980.1418 | 285394.6163 | 231177.3821 | 226778.0752 | 226827.3821 | 222428.0752 | 283088.4291 | 256960.3261 | 278738.4291 | 252610.3261 | 262719.025 | 256928.9057 | 288100.4587 | 280953.3801 | 248907.8545 | 244091.2938 | 242074.0552 | 237257.4945 | 255763.7852 | 251037.607 | 249943.1759 | 245216.9976 | 259568.5749 | 254767.3687 | 335596.9666 | 528589.4338 | 7882995.9368 | 282813259.0049 | 7707031.5749 | 278227733.441 | 7885794.5477 | 289980141.8412 | 7709830.1858 | 285394616.2774 | 7427072.1857 | 231177382.1035 | 7275159.2974 | 226778075.2486 | 7427072.1857 | 226827382.1035 | 7275159.2974 | 222428075.2486 | 9558575.171 | 283088429.063 | 8340910.7901 | 256960326.0688 | 9558575.171 | 278738429.063 | 8340910.7901 | 252610326.0688 | 5354656.4151 | 262719024.9527 | 5202743.5268 | 256928905.6662 | 7544932.1666 | 288100458.6989 | 7287567.7402 | 280953380.0923 | 7981194.0495 | 248907854.4972 | 7829281.1612 | 244091293.8116 | 7072434.1928 | 242074055.2141 | 6920521.3046 | 237257494.5285 | 7526814.1212 | 255763785.2462 | 7374901.2329 | 251037606.9535 | 6972692.2574 | 249943175.9272 | 6820779.3691 | 245216997.6345 | 7526814.1212 | 259568574.9339 | 7374901.2329 | 254767368.6749 | 5478298.2338 | 335596966.5935 | 2698363.9817 | 528589433.756
2049 | 235403.6338 | 230818.1082 | 242790.9496 | 238205.4241 | 204488.03 | 200088.7232 | 200350.43 | 195951.1232 | 256399.077 | 230270.974 | 251360.4198 | 225232.3169 | 225991.0988 | 220200.9795 | 237232.4284 | 230085.3498 | 215130.1492 | 210313.5885 | 209284.6795 | 204468.1188 | 219673.1638 | 214946.9855 | 215675.3201 | 210949.1418 | 223616.9847 | 218815.7784 | 229605.4177 | 248532.6182 | -47409625.192 | 235403633.8129 | -47409625.192 | 230818108.249 | -47189192.2171 | 242790949.6241 | -47189192.2171 | 238205424.0603 | -26689352.0737 | 204488030.0298 | -26689352.0737 | 200088723.1749 | -26476952.0737 | 200350430.0298 | -26476952.0737 | 195951123.1749 | -26689352.0737 | 256399076.9893 | -26689352.0737 | 230270973.9951 | -27378009.2166 | 251360419.8464 | -27378009.2166 | 225232316.8522 | -36727926.1854 | 225991098.7673 | -36727926.1854 | 220200979.4808 | -50868030.3123 | 237232428.3866 | -50868030.3123 | 230085349.78 | -33777705.3251 | 215130149.1721 | -33777705.3251 | 210313588.4865 | -32789375.7552 | 209284679.4588 | -32789375.7552 | 204468118.7732 | -36090621.4542 | 219673163.792 | -36090621.4542 | 214946985.4993 | -34267855.8628 | 215675320.0644 | -34267855.8628 | 210949141.7717 | -35951590.2253 | 223616984.7086 | -35951590.2253 | 218815778.4496 | -105991548.8838 | 229605417.7097 | -280056815.5504 | 248532618.2055

## Option A_H (PV)
| CPW Analysis Results (2023-2049) - 25 Year Study 2023$ - Real - Present Value | [28 empty] | A |  |  | A+Renewables |  |  | B |  |  | B+Renewables |  |  | C |  |  | C+Renewables |  |  | C(N-1) |  |  | C(N-1)+Renewables |  |  | C&NatGas |  |  | C&NatGas +Renewables |  |  | C(N-1)&Natgas |  |  | C(N-1)&Natgas +Renewables |  |  | D |  |  | D+Renewables |  |  | E |  |  | E+Renewables |  |  | F(i) |  |  | F(i)+Renewables |  |  | F(i)(N-1) |  |  | F(i)(N-1) +Renewables |  |  | F(ii) |  |  | F(ii) +Renewables |  |  | F(ii)(N-1) |  |  | F(ii)(N-1) +Renewables |  |  | F(iii) |  |  | F(iii)+Renewables |  |  | G |  |  | H
| Cumulative Cost - A | Cumulative Cost - A+Renew | Cumulative Cost - B | Cumulative Cost - B+Renew | Cumulative Cost - C | Cumulative Cost - C+Renew | Cumulative Cost - C(N-1) | Cumulative Cost - C(N-1)+Renew | Cumulative Cost - C&NatGas | Cumulative Cost - C&NatGas + Renew | Cumulative Cost - C&NatGas(N-1) | Cumulative Cost - C&NatGas(N-1)+Renew | Cumulative Cost - D | Cumulative Cost - D + Renew | Cumulative Cost - E | Cumulative Cost - E +Renew | Cumulative Cost - F(i) | Cumulative Cost - F(i) + Renew | Cumulative Cost - F(i)(N-1) | Cumulative Cost - F(i)(N-1) + Renew | Cumulative Cost - F(ii) | Cumulative Cost - F(ii) + Renew | Cumulative Cost - F(ii)(N-1) | Cumulative Cost - F(ii)(N-1) + Renew | Cumulative Cost - F(iii) | Cumulative Cost - F(iii) + Renew | Cumulative Cost - G | Cumulative Cost - H |  | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV | Total Cost - FV | Total Cost - PV | Cummulative PV
2023 | 17885.726 | 17885.726 | 17885.726 | 17885.726 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 10369.0779 | 17885.726 | 17885.726 | 17885.726 | 17885.726 | 14774.741 | 14774.741 | 14774.741 | 14774.741 | 15585.726 | 15585.726 | 15585.726 | 15585.726 | 17074.741 | 17074.741 | 17885.726 | 17885.726 | WACC (Real) | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 10369077.916 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 14774740.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 15585725.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17074740.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984 | 17885725.9984
2024 | 40232.0609 | 40232.0609 | 50073.0581 | 50073.0581 | 82087.325 | 82087.325 | 77891.5803 | 77891.5803 | 85977.4555 | 85977.4555 | 81781.7108 | 81781.7108 | 66477.5406 | 66477.5406 | 66231.6834 | 66231.6834 | 79223.3819 | 79223.3819 | 74805.7933 | 74805.7933 | 67192.5672 | 67192.5672 | 64250.7233 | 64250.7233 | 78497.3409 | 78497.3409 | 66005.0887 | 68292.9753 | 3.676% | 23167891.3268 | 22346334.8968 | 40232060.8952 | 23167891.3268 | 22346334.8968 | 40232060.8952 | 33370689.9377 | 32187332.1385 | 50073058.1369 | 33370689.9377 | 32187332.1385 | 50073058.1369 | 74354947.3106 | 71718247.0514 | 82087324.9674 | 74354947.3106 | 71718247.0514 | 82087324.9674 | 70004947.3106 | 67522502.3705 | 77891580.2865 | 70004947.3106 | 67522502.3705 | 77891580.2865 | 78388097.3621 | 75608377.5974 | 85977455.5134 | 78388097.3621 | 75608377.5974 | 85977455.5134 | 74038097.3621 | 71412632.9166 | 81781710.8326 | 74038097.3621 | 71412632.9166 | 81781710.8326 | 50378278.3926 | 48591814.6198 | 66477540.6182 | 50378278.3926 | 48591814.6198 | 66477540.6182 | 50123382.3352 | 48345957.4297 | 66231683.4281 | 50123382.3352 | 48345957.4297 | 66231683.4281 | 66818076.2396 | 64448640.9119 | 79223381.9104 | 66818076.2396 | 64448640.9119 | 79223381.9104 | 62238076.2396 | 60031052.2595 | 74805793.2579 | 62238076.2396 | 60031052.2595 | 74805793.2579 | 53504151.5837 | 51606841.2439 | 67192567.2423 | 53504151.5837 | 51606841.2439 | 67192567.2423 | 50454151.5837 | 48664997.2723 | 64250723.2707 | 50454151.5837 | 48664997.2723 | 64250723.2707 | 63680783.705 | 61422599.8857 | 78497340.8841 | 63680783.705 | 61422599.8857 | 78497340.8841 | 49888456.9656 | 48119362.7469 | 66005088.7454 | 52260456.9656 | 50407249.2718 | 68292975.2702
2025 | 48583.3024 | 48583.3024 | 58426.9033 | 58426.9033 | 88600.2658 | 88600.2658 | 84404.5211 | 84404.5211 | 93647.7008 | 93647.7008 | 89451.9561 | 89451.9561 | 74465.9894 | 74465.9894 | 74220.1322 | 74220.1322 | 86199.4838 | 86199.4838 | 81781.8952 | 81781.8952 | 75010.178 | 75010.178 | 72068.334 | 72068.334 | 85875.5442 | 85875.5442 | 75165.9264 | 79660.5687 |  | 8976591.313 | 8351241.5334 | 48583302.4285 | 8976591.313 | 8351241.5334 | 48583302.4285 | 8979389.9239 | 8353845.1805 | 58426903.3174 | 8979389.9239 | 8353845.1805 | 58426903.3174 | 7000636.6973 | 6512940.8155 | 88600265.7829 | 7000636.6973 | 6512940.8155 | 88600265.7829 | 7000636.6973 | 6512940.8155 | 84404521.102 | 7000636.6973 | 6512940.8155 | 84404521.102 | 8244601.2951 | 7670245.2369 | 93647700.7503 | 8244601.2951 | 7670245.2369 | 93647700.7503 | 8244601.2951 | 7670245.2369 | 89451956.0695 | 8244601.2951 | 7670245.2369 | 89451956.0695 | 8586632.2214 | 7988448.7484 | 74465989.3666 | 8586632.2214 | 7988448.7484 | 74465989.3666 | 8586632.2214 | 7988448.7484 | 74220132.1765 | 8586632.2214 | 7988448.7484 | 74220132.1765 | 7498479.789 | 6976101.9152 | 86199483.8256 | 7498479.789 | 6976101.9152 | 86199483.8256 | 7498479.789 | 6976101.9152 | 81781895.1731 | 7498479.789 | 6976101.9152 | 81781895.1731 | 8403001.7161 | 7817610.7711 | 75010178.0134 | 8403001.7161 | 7817610.7711 | 75010178.0134 | 8403001.7161 | 7817610.7711 | 72068334.0418 | 8403001.7161 | 7817610.7711 | 72068334.0418 | 7930690.9509 | 7378203.301 | 85875544.1851 | 7930690.9509 | 7378203.301 | 85875544.1851 | 9846810.7944 | 9160837.6064 | 75165926.3518 | 12218810.7944 | 11367593.4034 | 79660568.6736
2026 | 55839.2498 | 55839.2498 | 65685.362 | 65685.362 | 94510.9484 | 94510.9484 | 90315.2037 | 90315.2037 | 100874.8609 | 100874.8609 | 96679.1163 | 96679.1163 | 81383.7155 | 81383.7155 | 81137.8584 | 81137.8584 | 92403.8148 | 92403.8148 | 87986.2262 | 87986.2262 | 81774.0844 | 81774.0844 | 78832.2404 | 78832.2404 | 92456.7576 | 92456.7576 | 83214.4673 | 89837.6117 |  | 8086018.5896 | 7255947.3467 | 55839249.7753 | 8086018.5896 | 7255947.3467 | 55839249.7753 | 8088817.2005 | 7258458.6659 | 65685361.9833 | 8088817.2005 | 7258458.6659 | 65685361.9833 | 6586857.2695 | 5910682.6182 | 94510948.4011 | 6586857.2695 | 5910682.6182 | 94510948.4011 | 6586857.2695 | 5910682.6182 | 90315203.7202 | 6586857.2695 | 5910682.6182 | 90315203.7202 | 8053938.2255 | 7227160.1964 | 100874860.9467 | 8053938.2255 | 7227160.1964 | 100874860.9467 | 8053938.2255 | 7227160.1964 | 96679116.2659 | 8053938.2255 | 7227160.1964 | 96679116.2659 | 7709105.3507 | 6917726.1832 | 81383715.5499 | 7709105.3507 | 6917726.1832 | 81383715.5499 | 7709105.3507 | 6917726.1832 | 81137858.3598 | 7709105.3507 | 6917726.1832 | 81137858.3598 | 6914098.66 | 6204331.0031 | 92403814.8287 | 6914098.66 | 6204331.0031 | 92403814.8287 | 6914098.66 | 6204331.0031 | 87986226.1762 | 6914098.66 | 6204331.0031 | 87986226.1762 | 7537688.7398 | 6763906.3658 | 81774084.3792 | 7537688.7398 | 6763906.3658 | 81774084.3792 | 7537688.7398 | 6763906.3658 | 78832240.4076 | 7537688.7398 | 6763906.3658 | 78832240.4076 | 7334095.9275 | 6581213.399 | 92456757.584 | 7334095.9275 | 6581213.399 | 92456757.584 | 8969283.9237 | 8048540.9683 | 83214467.32 | 11341283.9237 | 10177043.0136 | 89837611.6872
2027 | 65303.2808 | 65303.2808 | 75151.8153 | 75151.8153 | 99823.2992 | 99823.2992 | 95627.5545 | 95627.5545 | 107666.6167 | 107666.6167 | 103470.8721 | 103470.8721 | 90533.7753 | 90533.7753 | 90287.9181 | 90287.9181 | 99817.8023 | 99817.8023 | 95400.2136 | 95400.2136 | 90278.8713 | 90278.8713 | 87337.0273 | 87337.0273 | 100731.1704 | 100731.1704 | 94327.171 | 105056.3619 |  | 10934450.7496 | 9464031.0322 | 65303280.8074 | 10934450.7496 | 9464031.0322 | 65303280.8074 | 10937249.3606 | 9466453.2975 | 75151815.2808 | 10937249.3606 | 9466453.2975 | 75151815.2808 | 6137726.9383 | 5312350.8021 | 99823299.2032 | 6137726.9383 | 5312350.8021 | 99823299.2032 | 6137726.9383 | 5312350.8021 | 95627554.5224 | 6137726.9383 | 5312350.8021 | 95627554.5224 | 7846986.014 | 6791755.786 | 107666616.7327 | 7846986.014 | 6791755.786 | 107666616.7327 | 7846986.014 | 6791755.786 | 103470872.0519 | 7846986.014 | 6791755.786 | 103470872.0519 | 10571697.9252 | 9150059.7074 | 90533775.2573 | 10571697.9252 | 9150059.7074 | 90533775.2573 | 10571697.9252 | 9150059.7074 | 90287918.0672 | 10571697.9252 | 9150059.7074 | 90287918.0672 | 8565893.3368 | 7413987.4251 | 99817802.2538 | 8565893.3368 | 7413987.4251 | 99817802.2538 | 8565893.3368 | 7413987.4251 | 95400213.6013 | 8565893.3368 | 7413987.4251 | 95400213.6013 | 9826169.5169 | 8504786.8764 | 90278871.2556 | 9826169.5169 | 8504786.8764 | 90278871.2556 | 9826169.5169 | 8504786.8764 | 87337027.284 | 9826169.5169 | 8504786.8764 | 87337027.284 | 9560002.4016 | 8274412.814 | 100731170.398 | 9560002.4016 | 8274412.814 | 100731170.398 | 12839276.4982 | 11112703.6915 | 94327171.0115 | 17583276.4982 | 15218750.1903 | 105056361.8774
2028 | 74605.1887 | 74291.159 | 84456.0596 | 84142.0299 | 106504.0996 | 106137.0557 | 102308.3549 | 101941.311 | 115867.8004 | 114740.5649 | 111672.0557 | 110544.8202 | 98400.3167 | 97858.7764 | 99292.4519 | 98750.9116 | 107228.6091 | 106857.9234 | 102052.3589 | 101681.6732 | 97796.4441 | 97446.274 | 94392.0016 | 94041.8314 | 110132.5244 | 109815.3052 | 104550.2775 | 117259.6893 |  | 11142254.0963 | 9301907.9348 | 74605188.7423 | 10766094.8214 | 8987878.2139 | 74291159.0213 | 11145052.7073 | 9304244.3042 | 84456059.585 | 10768893.4323 | 8990214.5833 | 84142029.8641 | 8002570.6867 | 6680800.4131 | 106504099.6163 | 7562908.5479 | 6313756.4827 | 106137055.6859 | 8002570.6867 | 6680800.4131 | 102308354.9355 | 7562908.5479 | 6313756.4827 | 101941311.0051 | 9823755.8528 | 8201183.6857 | 115867800.4185 | 8473501.131 | 7073948.119 | 114740564.8517 | 9823755.8528 | 8201183.6857 | 111672055.7376 | 8473501.131 | 7073948.119 | 110544820.1709 | 9422905.9255 | 7866541.4233 | 98400316.6806 | 8774223.9809 | 7325001.1142 | 97858776.3715 | 10786045.7105 | 9004533.8503 | 99292451.9175 | 10137363.7659 | 8462993.5412 | 98750911.6084 | 8877006.0976 | 7410806.8926 | 107228609.1464 | 8432981.6784 | 7040121.1919 | 106857923.4456 | 7968246.241 | 6652145.2746 | 102052358.8759 | 7524221.8218 | 6281459.5738 | 101681673.1751 | 9004895.2857 | 7517572.8525 | 97796444.1081 | 8585445.3318 | 7167402.6966 | 97446273.9522 | 8450773.4219 | 7054974.305 | 94392001.5889 | 8031323.468 | 6704804.149 | 94041831.4329 | 11261375.1717 | 9401353.9955 | 110132524.3935 | 10881395.4384 | 9084134.8344 | 109815305.2325 | 12245708.1544 | 10223106.4616 | 104550277.4731 | 14617708.1544 | 12203327.4681 | 117259689.3456
2029 | 81941.8808 | 81370.9283 | 91795.0052 | 91224.0527 | 111117.1438 | 110477.1125 | 106921.3991 | 106281.3678 | 122034.7105 | 119857.5546 | 117838.9658 | 115661.8099 | 105660.5395 | 104686.0495 | 106347.4253 | 105372.9353 | 112299.1758 | 111644.6554 | 107122.9256 | 106468.4052 | 103798.6376 | 103171.6111 | 100394.1951 | 99767.1686 | 116661.2844 | 116097.0965 | 112825.2311 | 127444.6434 |  | 9111324.6073 | 7336692.1061 | 81941880.8484 | 8792256.1275 | 7079769.2878 | 81370928.3091 | 9114123.2182 | 7338945.6255 | 91795005.2105 | 8795054.7385 | 7082022.8072 | 91224052.6713 | 5728868.3518 | 4613044.2087 | 111117143.8251 | 5389849.4951 | 4340056.7918 | 110477112.4777 | 5728868.3518 | 4613044.2087 | 106921399.1442 | 5389849.4951 | 4340056.7918 | 106281367.7969 | 7658590.3908 | 6166910.0912 | 122034710.5096 | 6354710.5147 | 5116989.733 | 119857554.5847 | 7658590.3908 | 6166910.0912 | 117838965.8288 | 6354710.5147 | 5116989.733 | 115661809.9039 | 9016358.5461 | 7260222.7911 | 105660539.4717 | 8478685.0583 | 6827273.1374 | 104686049.5088 | 8761462.4887 | 7054973.393 | 106347425.3105 | 8223789.0009 | 6622023.7393 | 105372935.3477 | 6297058.4379 | 5070566.6766 | 112299175.823 | 5944568.5301 | 4786731.9944 | 111644655.4401 | 6297058.4379 | 5070566.6766 | 107122925.5525 | 5944568.5301 | 4786731.9944 | 106468405.1695 | 7454031.3958 | 6002193.4963 | 103798637.6045 | 7110207.8177 | 5725337.184 | 103171611.1361 | 7454031.3958 | 6002193.4963 | 100394195.0852 | 7110207.8177 | 5725337.184 | 99767168.6169 | 8107966.2447 | 6528760.0331 | 116661284.4266 | 7801259.5642 | 6281791.2795 | 116097096.512 | 10276537.1191 | 8274953.6439 | 112825231.1171 | 12648537.1191 | 10184954.0474 | 127444643.3929
2030 | 100686.6101 | 99906.4345 | 110541.9081 | 109761.7325 | 115487.3197 | 114623.624 | 111291.5751 | 110427.8793 | 127946.4025 | 124774.8241 | 123750.6578 | 120579.0794 | 128998.006 | 127724.4456 | 124869.5261 | 123553.3674 | 117044.7567 | 116152.5214 | 111868.5065 | 110976.2712 | 120769.0617 | 119957.1459 | 117364.6192 | 116552.7034 | 121711.0558 | 120937.5185 | 130939.8943 | 147401.5764 |  | 24134627.6558 | 18744729.3007 | 100686610.1491 | 23865244.1147 | 18535506.2031 | 99906434.5123 | 24137426.2667 | 18746902.908 | 110541908.1186 | 23868042.7256 | 18537679.8105 | 109761732.4818 | 5626785.3581 | 4370175.9097 | 115487319.7347 | 5338807.9983 | 4146511.4832 | 114623623.9609 | 5626785.3581 | 4370175.9097 | 111291575.0539 | 5338807.9983 | 4146511.4832 | 110427879.28 | 7611552.1486 | 5911691.973 | 127946402.4826 | 6331191.3936 | 4917269.5148 | 124774824.0996 | 7611552.1486 | 5911691.973 | 123750657.8018 | 6331191.3936 | 4917269.5148 | 120579079.4187 | 30047970.1387 | 23337466.5779 | 128998006.0495 | 29662904.3313 | 23038396.1125 | 127724445.6214 | 23847984.0629 | 18522100.7758 | 124869526.0863 | 23408071.1895 | 18180432.0397 | 123553367.3873 | 6110135.0847 | 4745580.9051 | 117044756.728 | 5804067.1375 | 4507865.996 | 116152521.436 | 6110135.0847 | 4745580.9051 | 111868506.4575 | 5804067.1375 | 4507865.996 | 110976271.1655 | 21850135.0847 | 16970424.1221 | 120769061.7265 | 21612082.2369 | 16785534.7483 | 119957145.8845 | 21850135.0847 | 16970424.1221 | 117364619.2073 | 21612082.2369 | 16785534.7483 | 116552703.3652 | 6501793.0582 | 5049771.332 | 121711055.7586 | 6232246.9929 | 4840422.0062 | 120937518.5182 | 23323390.9746 | 18114663.1482 | 130939894.2653 | 25695390.9746 | 19956933.0409 | 147401576.4338
2031 | 105741.7539 | 104771.0844 | 115599.1484 | 114628.4789 | 119661.9613 | 118602.8143 | 115466.2167 | 114407.0696 | 133629.769 | 129508.3768 | 129434.0243 | 125312.6322 | 133736.5783 | 132195.6471 | 129666.2669 | 128042.536 | 121456.53 | 120353.4556 | 116280.2798 | 115177.2053 | 125180.835 | 124204.9332 | 121776.3925 | 120800.4907 | 126415.0353 | 125454.3385 | 137156.3698 | 157171.9343 |  | 6748001.0419 | 5055143.7131 | 105741753.8621 | 6493715.0145 | 4864649.9054 | 104771084.4176 | 6750799.6529 | 5057240.2422 | 115599148.3607 | 6496513.6254 | 4866746.4345 | 114628478.9163 | 5572637.9927 | 4174641.607 | 119661961.3417 | 5311734.3156 | 3979190.306 | 118602814.2669 | 5572637.9927 | 4174641.607 | 115466216.6609 | 5311734.3156 | 3979190.306 | 114407069.586 | 7586601.892 | 5683366.4695 | 133629768.9521 | 6318716.2653 | 4733552.7373 | 129508376.8368 | 7586601.892 | 5683366.4695 | 129434024.2713 | 6318716.2653 | 4733552.7373 | 125312632.156 | 6325416.6739 | 4738572.228 | 133736578.2775 | 5968509.3193 | 4471201.4972 | 132195647.1186 | 6403064.6353 | 4796740.8029 | 129666266.8892 | 5992493.1961 | 4489168.5875 | 128042535.9749 | 5889179.9357 | 4411773.3151 | 121456530.0432 | 5607735.3539 | 4200934.1645 | 120353455.6005 | 5889179.9357 | 4411773.3151 | 116280279.7726 | 5607735.3539 | 4200934.1645 | 115177205.33 | 5889179.9357 | 4411773.3151 | 125180835.0416 | 5670278.5943 | 4247787.309 | 124204933.1935 | 5889179.9357 | 4411773.3151 | 121776392.5224 | 5670278.5943 | 4247787.309 | 120800490.6743 | 6279239.5933 | 4703979.4979 | 126415035.2565 | 6029404.4451 | 4516819.9864 | 125454338.5046 | 8298237.5097 | 6216475.5038 | 137156369.7691 | 13042237.5097 | 9770357.85 | 157171934.2838
2032 | 110986.7729 | 109846.1842 | 120846.1896 | 119705.6009 | 123639.0024 | 122416.1167 | 119443.2577 | 118220.372 | 139088.7595 | 134062.654 | 134893.0148 | 129866.9093 | 138679.9801 | 136906.9342 | 134663.6089 | 132770.0702 | 125661.771 | 124377.8729 | 120485.5207 | 119201.6226 | 129386.076 | 128269.5335 | 125981.6335 | 124865.091 | 131325.0711 | 130201.894 | 174825.5716 | 271967.9444 |  | 7258868.1655 | 5245019.055 | 110986772.9171 | 7023707.6511 | 5075099.8127 | 109846184.2303 | 7261666.7764 | 5247041.2391 | 120846189.5999 | 7026506.262 | 5077121.9968 | 119705600.913 | 5504044.1722 | 3977041.0352 | 123639002.3769 | 5277437.4054 | 3813302.4491 | 122416116.7159 | 5504044.1722 | 3977041.0352 | 119443257.6961 | 5277437.4054 | 3813302.4491 | 118220372.0351 | 7554994.9355 | 5458990.5057 | 139088759.4579 | 6302912.787 | 4554277.1843 | 134062654.0212 | 7554994.9355 | 5458990.5057 | 134893014.777 | 6302912.787 | 4554277.1843 | 129866909.3403 | 6841443.6579 | 4943401.8543 | 138679980.1318 | 6520207.3991 | 4711287.1141 | 136906934.2327 | 6916094.4205 | 4997342.0366 | 134663608.9258 | 6542692.6765 | 4727534.235 | 132770070.2099 | 5819862.4887 | 4205240.9488 | 125661770.9919 | 5569610.7581 | 4024417.2906 | 124377872.8911 | 5819862.4887 | 4205240.9488 | 120485520.7214 | 5569610.7581 | 4024417.2906 | 119201622.6206 | 5819862.4887 | 4205240.9488 | 129386075.9904 | 5625222.2538 | 4064600.3257 | 128269533.5192 | 5819862.4887 | 4205240.9488 | 125981633.4712 | 5625222.2538 | 4064600.3257 | 124865091 | 6795266.5773 | 4910035.8168 | 131325071.0733 | 6570401.1962 | 4747555.4987 | 130201894.0033 | 52132464.4938 | 37669201.7849 | 174825571.554 | 158872464.4938 | 114796010.1484 | 271967944.4322
2033 | 118882.2423 | 117588.0438 | 126580.9344 | 125286.7359 | 129056.724 | 127694.3479 | 124860.9793 | 123498.6032 | 145955.7674 | 140065.5283 | 141760.0227 | 135869.7836 | 143000.3591 | 141022.6102 | 139984.4359 | 137850.6436 | 131685.4032 | 130243.8663 | 125875.7981 | 124434.2612 | 135093.0308 | 133853.8804 | 131302.3963 | 130063.2459 | 137301.3758 | 136034.9066 | 220244.8933 | 390064.8224 |  | 11328697.8897 | 7895469.3592 | 118882242.2764 | 11108293.2059 | 7741859.6112 | 117588043.8415 | 8228414.0634 | 5734744.7822 | 126580934.3821 | 8008009.3795 | 5581135.0342 | 125286735.9473 | 7773538.0268 | 5417721.6041 | 129056723.981 | 7573392.218 | 5278231.1599 | 127694347.8758 | 7773538.0268 | 5417721.6041 | 124860979.3002 | 7573392.218 | 5278231.1599 | 123498603.195 | 9853025.1174 | 6867007.9004 | 145955767.3583 | 8613135.7633 | 6002874.308 | 140065528.3292 | 9853025.1174 | 6867007.9004 | 141760022.6774 | 8613135.7633 | 6002874.308 | 135869783.6483 | 6199032.1264 | 4320378.978 | 143000359.1099 | 5905317.0456 | 4115675.98 | 141022610.2127 | 7634510.2571 | 5320827.0178 | 139984435.9436 | 7289785.8995 | 5080573.4044 | 137850643.6143 | 8642919.9104 | 6023632.1942 | 131685403.1861 | 8416734.2755 | 5865993.4464 | 130243866.3374 | 7734160.0538 | 5390277.3574 | 125875798.0788 | 7507974.4189 | 5232638.6096 | 124434261.2301 | 8188539.9821 | 5706954.7758 | 135093030.7662 | 8012617.8216 | 5584346.8608 | 133853880.3801 | 7634418.1183 | 5320762.8022 | 131302396.2734 | 7458495.9578 | 5198154.8872 | 130063245.8872 | 8575012.752 | 5976304.6996 | 137301375.7729 | 8369412.1953 | 5833012.601 | 136034906.6042 | 65169244.6699 | 45419321.7495 | 220244893.3035 | 169449565.4696 | 118096877.9577 | 390064822.3899
2034 | 124326.8543 | 122891.6391 | 132027.4277 | 130592.2125 | 132695.5021 | 131211.3963 | 128499.7574 | 127015.6516 | 151006.258 | 144288.433 | 146810.5133 | 140092.6884 | 148303.0689 | 146141.2038 | 145200.5549 | 142848.9163 | 135535.8381 | 133953.9071 | 129726.233 | 128144.302 | 139248.9134 | 137900.5675 | 135458.2789 | 134109.933 | 141522.6018 | 140127.2513 | 222879.741 | 390828.3009 |  | 8099331.6894 | 5444612.0213 | 124326854.2977 | 7889557.0861 | 5303595.2843 | 122891639.1259 | 8102130.3003 | 5446493.331 | 132027427.7131 | 7892355.6971 | 5305476.594 | 130592212.5412 | 5412997.379 | 3638778.0784 | 132695502.0594 | 5231914.0087 | 3517048.4429 | 131211396.3187 | 5412997.379 | 3638778.0784 | 128499757.3786 | 5231914.0087 | 3517048.4429 | 127015651.6379 | 7513042.0014 | 5050490.6289 | 151006257.9872 | 6281936.32 | 4222904.7181 | 144288433.0473 | 7513042.0014 | 5050490.6289 | 146810513.3063 | 6281936.32 | 4222904.7181 | 140092688.3665 | 7888239.9023 | 5302709.8341 | 148303068.944 | 7614351.041 | 5118593.5831 | 146141203.7958 | 7759428.515 | 5216118.9826 | 145200554.9262 | 7435363.308 | 4998272.6973 | 142848916.3116 | 5727855.2026 | 3850434.8863 | 135535838.0724 | 5519006.7507 | 3710040.7358 | 133953907.0733 | 5727855.2026 | 3850434.8863 | 129726232.9651 | 5519006.7507 | 3710040.7358 | 128144301.966 | 6182235.1309 | 4155882.609 | 139248913.3752 | 6019797.4461 | 4046687.1586 | 137900567.5387 | 6182235.1309 | 4155882.609 | 135458278.8824 | 6019797.4461 | 4046687.1586 | 134109933.0459 | 6279439.1658 | 4221226.0567 | 141522601.8296 | 6087716.9629 | 4092344.681 | 140127251.2852 | 3919563.9754 | 2634847.6587 | 222879740.9623 | 1135740.3258 | 763478.478 | 390828300.8679
2035 | 139630.0414 | 138071.2423 | 147332.4294 | 145773.6303 | 136189.5746 | 134595.8913 | 131993.8299 | 130400.1466 | 155870.4323 | 148357.9789 | 151674.6876 | 144162.2342 | 154301.7616 | 151997.3527 | 158014.4742 | 155477.3317 | 139341.683 | 137631.4626 | 133532.0779 | 131821.8575 | 143054.7583 | 141563.8687 | 139264.1238 | 137773.2342 | 147708.0448 | 146170.1506 | 225420.1096 | 391564.7056 |  | 23601757.2859 | 15303187.1142 | 139630041.4119 | 23411156.6131 | 15179603.191 | 138071242.3168 | 23604555.8968 | 15305001.7107 | 147332429.4237 | 23413955.224 | 15181417.7875 | 145773630.3287 | 5388828.5787 | 3494072.5416 | 136189574.601 | 5219829.6086 | 3384494.9864 | 134595891.3051 | 5388828.5787 | 3494072.5416 | 131993829.9202 | 5219829.6086 | 3384494.9864 | 130400146.6243 | 7501905.3974 | 4864174.3332 | 155870432.3204 | 6276368.0179 | 4069545.8822 | 148357978.9295 | 7501905.3974 | 4864174.3332 | 151674687.6395 | 6276368.0179 | 4069545.8822 | 144162234.2487 | 9251647.1583 | 5998692.6339 | 154301761.5779 | 9031805.2067 | 5856148.9037 | 151997352.6995 | 19762616.118 | 12813919.2627 | 158014474.1889 | 19476517.7687 | 12628415.4242 | 155477331.7358 | 5869667.9942 | 3805844.9006 | 139341682.9731 | 5671810.2377 | 3677555.5435 | 137631462.6168 | 5869667.9942 | 3805844.9006 | 133532077.8658 | 5671810.2377 | 3677555.5435 | 131821857.5095 | 5869667.9942 | 3805844.9006 | 143054758.2759 | 5649826.0425 | 3663301.1705 | 141563868.7092 | 5869667.9942 | 3805844.9006 | 139264123.783 | 5649826.0425 | 3663301.1705 | 137773234.2163 | 9539667.9942 | 6185442.997 | 147708044.8266 | 9319826.0425 | 6042899.2669 | 146170150.5521 | 3917952.7221 | 2540368.621 | 225420109.5833 | 1135740.3258 | 736404.7731 | 391564705.6409
2036 | 143706.7438 | 142028.268 | 151410.8821 | 149732.4063 | 139561.467 | 137861.2303 | 135365.7223 | 133665.4856 | 160562.9122 | 152283.6117 | 156367.1675 | 148087.867 | 157896.6783 | 155453.9097 | 161879.0236 | 159162.0323 | 142910.3459 | 141075.6019 | 137100.7408 | 135265.9968 | 146623.4212 | 144994.172 | 142832.7867 | 141203.5375 | 151276.7078 | 149600.4539 | 227870.5091 | 392274.9968 |  | 6518559.9682 | 4076702.4045 | 143706743.8164 | 6327199.4851 | 3957025.7051 | 142028268.0219 | 6521358.5792 | 4078452.6536 | 151410882.0774 | 6329998.096 | 3958775.9542 | 149732406.2829 | 5391583.7999 | 3371892.3732 | 139561466.9742 | 5221207.2192 | 3265338.9903 | 137861230.2955 | 5391583.7999 | 3371892.3732 | 135365722.2934 | 5221207.2192 | 3265338.9903 | 133665485.6146 | 7503174.9601 | 4692479.8652 | 160562912.1856 | 6277002.7993 | 3925632.7363 | 152283611.6659 | 7503174.9601 | 4692479.8652 | 156367167.5047 | 6277002.7993 | 3925632.7363 | 148087866.985 | 5748194.8864 | 3594916.6732 | 157896678.2511 | 5526960.7911 | 3456557.0397 | 155453909.7392 | 6179331.9323 | 3864549.451 | 161879023.6399 | 5891757.3963 | 3684700.5568 | 159162032.2925 | 5706215.7223 | 3568662.9361 | 142910345.9092 | 5507105.0365 | 3444139.266 | 141075601.8828 | 5706215.7223 | 3568662.9361 | 137100740.8019 | 5507105.0365 | 3444139.266 | 135265996.7755 | 5706215.7223 | 3568662.9361 | 146623421.212 | 5484981.627 | 3430303.3026 | 144994172.0118 | 5706215.7223 | 3568662.9361 | 142832786.7191 | 5484981.627 | 3430303.3026 | 141203537.519 | 5706215.7223 | 3568662.9361 | 151276707.7627 | 5484981.627 | 3430303.3026 | 149600453.8547 | 3918136.4035 | 2450399.5016 | 227870509.0849 | 1135740.3258 | 710291.1287 | 392274996.7696
2037 | 147630.6143 | 145838.7727 | 155336.4408 | 153544.5991 | 142806.2934 | 141007.0295 | 138610.5487 | 136811.2848 | 165085.5383 | 156068.3107 | 160889.7936 | 151872.566 | 161356.5412 | 158784.1066 | 165598.5007 | 162712.0539 | 146344.8861 | 144393.4426 | 140535.281 | 138583.8375 | 150057.9614 | 148299.0461 | 146267.3269 | 144508.4117 | 154711.248 | 152905.328 | 230233.5153 | 392960.1003 |  | 6504853.585 | 3923870.4982 | 147630614.3145 | 6316919.6977 | 3810504.6512 | 145838772.6731 | 6507652.196 | 3925558.6817 | 155336440.7591 | 6319718.3086 | 3812192.8347 | 153544599.1177 | 5379158.2926 | 3244826.3829 | 142806293.3571 | 5214994.4656 | 3145799.1581 | 141007029.4536 | 5379158.2926 | 3244826.3829 | 138610548.6763 | 5214994.4656 | 3145799.1581 | 136811284.7727 | 7497449.4812 | 4522626.1354 | 165085538.321 | 6274140.0599 | 3784699.0344 | 156068310.7003 | 7497449.4812 | 4522626.1354 | 160889793.6402 | 6274140.0599 | 3784699.0344 | 151872566.0194 | 5735638.2969 | 3459862.9481 | 161356541.1992 | 5520682.4964 | 3330196.8898 | 158784106.629 | 6166017.3069 | 3719477.016 | 165598500.6559 | 5885100.0836 | 3550021.5793 | 162712053.8718 | 5693659.1328 | 3434540.1946 | 146344886.1038 | 5500198.9123 | 3317840.7421 | 144393442.6249 | 5693659.1328 | 3434540.1946 | 140535280.9965 | 5500198.9123 | 3317840.7421 | 138583837.5176 | 5693659.1328 | 3434540.1946 | 150057961.4066 | 5478703.3322 | 3304874.1363 | 148299046.1481 | 5693659.1328 | 3434540.1946 | 146267326.9137 | 5478703.3322 | 3304874.1363 | 144508411.6553 | 5693659.1328 | 3434540.1946 | 154711247.9573 | 5478703.3322 | 3304874.1363 | 152905327.991 | 3917308.0363 | 2363006.213 | 230233515.2979 | 1135740.3258 | 685103.5 | 392960100.2696
2038 | 152798.617 | 150895.3475 | 160506.0718 | 158602.8023 | 147731.2321 | 145832.6775 | 143535.4874 | 141636.9329 | 171238.8936 | 161508.1671 | 167043.149 | 157312.4224 | 164701.3437 | 162000.0263 | 169987.2887 | 166933.3504 | 151775.2962 | 149707.8582 | 145436.9463 | 143369.5083 | 155223.9991 | 153336.201 | 151110.9593 | 149223.1612 | 159877.2857 | 157942.4829 | 234004.2445 | 395111.9235 |  | 8882307.3678 | 5168002.7176 | 152798617.0321 | 8690794.981 | 5056574.8538 | 150895347.5269 | 8885105.9787 | 5169631.0365 | 160506071.7956 | 8693593.5919 | 5058203.1727 | 158602802.2904 | 8464550.4029 | 4924938.7208 | 147731232.0779 | 8293898.406 | 4825648.0807 | 145832677.5343 | 8464550.4029 | 4924938.7208 | 143535487.3971 | 8293898.406 | 4825648.0807 | 141636932.8535 | 10575844.5456 | 6153355.3264 | 171238893.6475 | 9349545.4774 | 5439856.3836 | 161508167.0839 | 10575844.5456 | 6153355.3264 | 167043148.9666 | 9349545.4774 | 5439856.3836 | 157312422.403 | 5748751.5298 | 3344802.4594 | 164701343.6585 | 5527239.1128 | 3215919.6449 | 162000026.2739 | 7543061.9649 | 4388788.0839 | 169987288.7398 | 7255192.3051 | 4221296.5615 | 166933350.4333 | 9333310 | 5430410.0778 | 151775296.1816 | 9133948.8248 | 5314415.5448 | 149707858.1697 | 8424550.1434 | 4901665.3256 | 145436946.3221 | 8225188.9681 | 4785670.7925 | 143369508.3101 | 8878930.0717 | 5166037.7017 | 155223999.1083 | 8657417.6548 | 5037154.8872 | 153336201.0353 | 8324808.2079 | 4843632.365 | 151110959.2787 | 8103295.791 | 4714749.5505 | 149223161.2057 | 8878930.0717 | 5166037.7017 | 159877285.659 | 8657417.6548 | 5037154.8872 | 157942482.8782 | 6480796.7816 | 3770729.1577 | 234004244.4556 | 3698363.9817 | 2151823.205 | 395111923.4746
2039 | 158485.5935 | 156475.1689 | 166194.6188 | 164184.1942 | 150756.1259 | 148762.3845 | 146560.3812 | 144566.6398 | 175449.2717 | 165030.6162 | 171253.5271 | 160834.8715 | 169956.0714 | 167131.0305 | 175483.9178 | 172269.0519 | 155678.2505 | 153499.4613 | 149339.9007 | 147161.1115 | 159381.9509 | 157370.4293 | 155268.9111 | 153257.3895 | 164035.2375 | 161976.7112 | 236203.0408 | 395749.2996 |  | 10133621.9464 | 5686976.4462 | 158485593.4783 | 9942682.3486 | 5579821.3736 | 156475168.9005 | 10136420.5574 | 5688547.0233 | 166194618.8189 | 9945480.9596 | 5581391.9507 | 164184194.2411 | 5390057.5871 | 3024893.834 | 150756125.9119 | 5220444.1128 | 2929706.9562 | 148762384.4906 | 5390057.5871 | 3024893.834 | 146560381.231 | 5220444.1128 | 2929706.9562 | 144566639.8097 | 7502471.7052 | 4210378.0959 | 175449271.7434 | 6276651.1718 | 3522449.0872 | 165030616.171 | 7502471.7052 | 4210378.0959 | 171253527.0625 | 6276651.1718 | 3522449.0872 | 160834871.4902 | 9363398.0926 | 5254727.746 | 169956071.4045 | 9142935.1541 | 5131004.2101 | 167131030.484 | 9794442.0297 | 5496629.0849 | 175483917.8247 | 9507685.2049 | 5335701.4998 | 172269051.933 | 6954673.4088 | 3902954.3509 | 155678250.5326 | 6756256.7641 | 3791603.1686 | 153499461.3383 | 6954673.4088 | 3902954.3509 | 149339900.673 | 6756256.7641 | 3791603.1686 | 147161111.4787 | 7409053.3371 | 4157951.8201 | 159381950.9284 | 7188590.3986 | 4034228.2842 | 157370429.3196 | 7409053.3371 | 4157951.8201 | 155268911.0988 | 7188590.3986 | 4034228.2842 | 153257389.4899 | 7409053.3371 | 4157951.8201 | 164035237.4791 | 7188590.3986 | 4034228.2842 | 161976711.1625 | 3918034.656 | 2198796.3358 | 236203040.7914 | 1135740.3258 | 637376.1046 | 395749299.5792
2040 | 162018.638 | 159903.4903 | 169729.1782 | 167614.0305 | 153678.7142 | 151590.6812 | 149482.9695 | 147394.9365 | 179512.6312 | 168429.2985 | 175316.8865 | 164233.5538 | 173071.7362 | 170124.8528 | 178833.2085 | 175460.4641 | 158771.1921 | 156482.7447 | 152432.8422 | 150144.3948 | 162474.8925 | 160341.5284 | 158361.8526 | 156228.4886 | 167128.179 | 164947.8103 | 238324.1963 | 396364.0737 |  | 6526984.4684 | 3533044.4905 | 162018637.9688 | 6333517.8602 | 3428321.3772 | 159903490.2777 | 6529783.0793 | 3534559.3734 | 169729178.1923 | 6336316.4711 | 3429836.26 | 167614030.5011 | 5399221.0217 | 2922588.2452 | 153678714.157 | 5225025.8301 | 2828296.7136 | 151590681.2042 | 5399221.0217 | 2922588.2452 | 149482969.4762 | 5225025.8301 | 2828296.7136 | 147394936.5233 | 7506694.0721 | 4063359.4674 | 179512631.2108 | 6278762.3553 | 3398682.3247 | 168429298.4958 | 7506694.0721 | 4063359.4674 | 175316886.5299 | 6278762.3553 | 3398682.3247 | 164233553.8149 | 5755912.6766 | 3115664.7711 | 173071736.1757 | 5530819.6862 | 2993822.3563 | 170124852.8402 | 6187515.6421 | 3349290.6495 | 178833208.4742 | 5895849.2512 | 3191412.1774 | 175460464.1104 | 5713933.5125 | 3092941.5281 | 158771192.0606 | 5511349.8211 | 2983283.3547 | 156482744.693 | 5713933.5125 | 3092941.5281 | 152432842.2011 | 5511349.8211 | 2983283.3547 | 150144394.8334 | 5713933.5125 | 3092941.5281 | 162474892.4565 | 5488840.5221 | 2971099.1132 | 160341528.4327 | 5713933.5125 | 3092941.5281 | 158361852.6269 | 5488840.5221 | 2971099.1132 | 156228488.6031 | 5713933.5125 | 3092941.5281 | 167128179.0072 | 5488840.5221 | 2971099.1132 | 164947810.2756 | 3918645.5516 | 2121155.5112 | 238324196.3025 | 1135740.3258 | 614774.1151 | 396364073.6943
2041 | 165430.5651 | 163213.3659 | 173142.5665 | 170925.3673 | 156501.4429 | 154320.5729 | 152305.6983 | 150124.8282 | 183433.641 | 171708.3307 | 179237.8963 | 167512.586 | 176080.7347 | 173014.4204 | 182067.7787 | 178540.73 | 161758.2731 | 159362.3379 | 155419.9232 | 153023.9881 | 165461.9735 | 163209.1786 | 161348.9337 | 159096.1387 | 170115.26 | 167815.4604 | 240370.3854 | 396957.0473 |  | 6534967.3989 | 3411927.1381 | 165430565.107 | 6339505.058 | 3309875.6321 | 163213365.9097 | 6537766.0098 | 3413388.3018 | 173142566.494 | 6342303.669 | 3311336.7957 | 170925367.2968 | 5406457.939 | 2822728.7815 | 156501442.9386 | 5228644.2887 | 2729891.7126 | 154320572.9168 | 5406457.939 | 2822728.7815 | 152305698.2577 | 5228644.2887 | 2729891.7126 | 150124828.236 | 7510028.73 | 3921009.7416 | 183433640.9524 | 6280429.6843 | 3279032.1927 | 171708330.6884 | 7510028.73 | 3921009.7416 | 179237896.2715 | 6280429.6843 | 3279032.1927 | 167512586.0076 | 5763225.9393 | 3008998.4824 | 176080734.658 | 5534476.3176 | 2889567.5817 | 173014420.422 | 6195270.4033 | 3234570.2629 | 182067778.7371 | 5899726.6318 | 3080265.9254 | 178540730.0358 | 5721246.7752 | 2987081.0281 | 161758273.0887 | 5515372.1156 | 2879593.2175 | 159362337.9105 | 5721246.7752 | 2987081.0281 | 155419923.2291 | 5515372.1156 | 2879593.2175 | 153023988.0509 | 5721246.7752 | 2987081.0281 | 165461973.4845 | 5492497.1534 | 2867650.1274 | 163209178.5601 | 5721246.7752 | 2987081.0281 | 161348933.6549 | 5492497.1534 | 2867650.1274 | 159096138.7305 | 5721246.7752 | 2987081.0281 | 170115260.0353 | 5492497.1534 | 2867650.1274 | 167815460.4031 | 3919128.0128 | 2046189.1251 | 240370385.4277 | 1135740.3258 | 592973.6145 | 396957047.3088
2042 | 168731.2872 | 166413.209 | 176444.6979 | 174126.6198 | 159232.9458 | 156958.0954 | 155037.2011 | 152762.3507 | 187219.6953 | 174873.1289 | 183023.9507 | 170677.3842 | 178991.9955 | 175806.0033 | 185197.1535 | 181516.5195 | 164648.3937 | 162144.7483 | 158310.0438 | 155806.3985 | 168352.0941 | 165979.6212 | 164239.0542 | 161866.5813 | 173005.3806 | 170585.903 | 242344.606 | 397528.9935 |  | 6554398.467 | 3300722.0836 | 168731287.1906 | 6354078.3592 | 3199843.1079 | 166413209.0176 | 6557197.078 | 3302131.433 | 176444697.927 | 6356876.9701 | 3201252.4572 | 174126619.754 | 5424073.1534 | 2731502.8421 | 159232945.7806 | 5237451.896 | 2637522.4549 | 156958095.3717 | 5424073.1534 | 2731502.8421 | 155037201.0998 | 5237451.896 | 2637522.4549 | 152762350.6908 | 7518145.5445 | 3786054.3804 | 187219695.3328 | 6284488.0915 | 3164798.224 | 174873128.9125 | 7518145.5445 | 3786054.3804 | 183023950.6519 | 6284488.0915 | 3164798.224 | 170677384.2316 | 5781026.9845 | 2911260.8167 | 178991995.4747 | 5543376.8402 | 2791582.8503 | 175806003.2722 | 6214146.0899 | 3129374.7753 | 185197153.5124 | 5909164.4751 | 2975789.4301 | 181516519.4659 | 5739047.8203 | 2890120.577 | 164648393.6657 | 5525162.6904 | 2782410.4073 | 162144748.3177 | 5739047.8203 | 2890120.577 | 158310043.8062 | 5525162.6904 | 2782410.4073 | 155806398.4582 | 5739047.8203 | 2890120.577 | 168352094.0616 | 5501397.676 | 2770442.6106 | 165979621.1708 | 5739047.8203 | 2890120.577 | 164239054.232 | 5501397.676 | 2770442.6106 | 161866581.3412 | 5739047.8203 | 2890120.577 | 173005380.6123 | 5501397.676 | 2770442.6106 | 170585903.0137 | 3920302.3604 | 1974220.6155 | 242344606.0431 | 1135740.3258 | 571946.1814 | 397528993.4902
2043 | 172693.888 | 170279.6647 | 180408.6581 | 177994.4348 | 162991.4622 | 160628.0611 | 158795.7175 | 156432.3164 | 191997.6294 | 179052.8035 | 187801.8847 | 174857.0588 | 181795.7816 | 178496.4746 | 188873.1826 | 185046.6567 | 168829.013 | 166223.3843 | 162049.2502 | 159443.6215 | 172312.0069 | 169826.2192 | 167929.8129 | 165444.0252 | 176965.2935 | 174432.5011 | 245128.9869 | 398961.1056 |  | 8158013.2186 | 3962600.7644 | 172693887.955 | 7960074.369 | 3866455.7085 | 170279664.7262 | 8160811.8295 | 3963960.1367 | 180408658.0637 | 7962872.98 | 3867815.0809 | 177994434.8349 | 7737854.015 | 3758516.3707 | 162991462.1513 | 7555550.2121 | 3669965.7433 | 160628061.115 | 7737854.015 | 3758516.3707 | 158795717.4705 | 7555550.2121 | 3669965.7433 | 156432316.4341 | 9836582.4845 | 4777934.0665 | 191997629.3992 | 8604914.4468 | 4179674.5912 | 179052803.5037 | 9836582.4845 | 4777934.0665 | 187801884.7184 | 8604914.4468 | 4179674.5912 | 174857058.8228 | 5772300.982 | 2803786.1266 | 181795781.6013 | 5539013.8389 | 2690471.3052 | 178496474.5774 | 7568033.0873 | 3676029.0641 | 188873182.5764 | 7267677.8663 | 3530137.1911 | 185046656.657 | 8606859.4522 | 4180619.3408 | 168829013.0065 | 8396901.0235 | 4078636.0015 | 166223384.3192 | 7698099.5956 | 3739206.4127 | 162049250.2188 | 7488141.1668 | 3637223.0734 | 159443621.5315 | 8152479.5239 | 3959912.8767 | 172312006.9383 | 7919192.3808 | 3846598.0553 | 169826219.2261 | 7598357.6601 | 3690758.6523 | 167929812.8842 | 7365070.517 | 3577443.8308 | 165444025.172 | 8152479.5239 | 3959912.8767 | 176965293.489 | 7919192.3808 | 3846598.0553 | 174432501.069 | 5732350.3557 | 2784380.8649 | 245128986.908 | 2948363.9817 | 1432112.0908 | 398961105.581
2044 | 177338.519 | 174831.3171 | 185054.6003 | 182547.3984 | 165529.5121 | 163080.2598 | 161333.7674 | 158884.5151 | 195518.4722 | 181996.3986 | 191322.7275 | 177800.654 | 185961.2492 | 182552.2003 | 193358.5029 | 189390.7864 | 171514.5973 | 168810.2009 | 164734.8345 | 162030.4381 | 175210.4712 | 172614.9416 | 170828.2771 | 168232.7475 | 179863.7577 | 177221.2234 | 246965.4635 | 399493.2074 |  | 9913694.124 | 4644631.0922 | 177338519.0472 | 9715236.4818 | 4551652.3777 | 174831317.1039 | 9916492.735 | 4645942.2599 | 185054600.3236 | 9718035.0928 | 4552963.5454 | 182547398.3804 | 5417319.4882 | 2538049.9152 | 165529512.0666 | 5234075.0634 | 2452198.6935 | 163080259.8084 | 5417319.4882 | 2538049.9152 | 161333767.3857 | 5234075.0634 | 2452198.6935 | 158884515.1276 | 7515033.5615 | 3520842.7961 | 195518472.1953 | 6282932.1 | 2943595.1339 | 181996398.6375 | 7515033.5615 | 3520842.7961 | 191322727.5144 | 6282932.1 | 2943595.1339 | 177800653.9567 | 8890947.5915 | 4165467.5953 | 185961249.1966 | 8656709.9036 | 4055725.6933 | 182552200.2707 | 9573654.6799 | 4485320.3696 | 193358502.946 | 9272291.53 | 4344129.7459 | 189390786.4029 | 5732222.9077 | 2685584.2445 | 171514597.2511 | 5521408.9885 | 2586816.5328 | 168810200.852 | 5732222.9077 | 2685584.2445 | 164734834.4634 | 5521408.9885 | 2586816.5328 | 162030438.0643 | 6186602.836 | 2898464.2382 | 175210471.1765 | 5952365.148 | 2788722.3363 | 172614941.5623 | 6186602.836 | 2898464.2382 | 170828277.1225 | 5952365.148 | 2788722.3363 | 168232747.5082 | 6186602.836 | 2898464.2382 | 179863757.7273 | 5952365.148 | 2788722.3363 | 177221223.4052 | 3919852.116 | 1836476.5734 | 246965463.4814 | 1135740.3258 | 532101.8345 | 399493207.4155
2045 | 187062.7608 | 184468.2407 | 194780.1067 | 192185.5867 | 167977.6644 | 165445.5532 | 163781.9197 | 161249.8085 | 198914.5104 | 184835.635 | 194718.7657 | 180639.8903 | 189493.9445 | 186002.0366 | 200525.0098 | 196425.838 | 177415.2112 | 174627.9559 | 171670.2832 | 168883.0278 | 181111.0852 | 178432.6966 | 176728.8911 | 174050.5026 | 185764.3717 | 183038.9784 | 248736.8237 | 400006.4404 |  | 21518908.5899 | 9724241.7353 | 187062760.7824 | 21325681.1185 | 9636923.6153 | 184468240.7192 | 21521707.2008 | 9725506.4076 | 194780106.7313 | 21328479.7294 | 9638188.2877 | 192185586.668 | 5417550.0328 | 2448152.3267 | 167977664.3932 | 5234190.3356 | 2365293.3837 | 165445553.1921 | 5417550.0328 | 2448152.3267 | 163781919.7124 | 5234190.3356 | 2365293.3837 | 161249808.5113 | 7515139.7928 | 3396038.2198 | 198914510.4151 | 6282985.2157 | 2839236.3303 | 184835634.9678 | 7515139.7928 | 3396038.2198 | 194718765.7343 | 6282985.2157 | 2839236.3303 | 180639890.2869 | 7817550.0328 | 3532695.2563 | 189493944.4529 | 7634190.3356 | 3449836.3133 | 186002036.584 | 15858861.8771 | 7166506.8837 | 200525009.8297 | 15567962.703 | 7035051.616 | 196425838.0189 | 13057550.0328 | 5900613.986 | 177415211.237 | 12874190.3356 | 5817755.043 | 174627955.895 | 15347550.0328 | 6935448.698 | 171670283.1614 | 15164190.3356 | 6852589.7551 | 168883027.8193 | 13057550.0328 | 5900613.986 | 181111085.1625 | 12874190.3356 | 5817755.043 | 178432696.6054 | 13057550.0328 | 5900613.986 | 176728891.1085 | 12874190.3356 | 5817755.043 | 174050502.5513 | 13057550.0328 | 5900613.986 | 185764371.7133 | 12874190.3356 | 5817755.043 | 183038978.4483 | 3919867.4857 | 1771360.2361 | 248736823.7175 | 1135740.3258 | 513232.9751 | 400006440.3906
2046 | 189939.4165 | 187259.4849 | 197657.9823 | 194978.0507 | 170343.3375 | 167729.1383 | 166147.5929 | 163533.3936 | 202192.1191 | 187575.1878 | 197996.3744 | 183379.4432 | 191859.6176 | 188285.6217 | 203253.3133 | 199025.0365 | 179780.8844 | 176911.541 | 174035.9563 | 171166.6129 | 183476.7583 | 180716.2817 | 179094.5643 | 176334.0877 | 188130.0449 | 185322.5635 | 250445.6587 | 400501.4736 |  | 6599827.5145 | 2876655.7104 | 189939416.4929 | 6403870.3119 | 2791244.1743 | 187259484.8935 | 6602626.1255 | 2877875.5363 | 197657982.2675 | 6406668.9229 | 2792464.0002 | 194978050.6682 | 5427495.0932 | 2365673.1511 | 170343337.5444 | 5239162.8659 | 2283585.1002 | 167729138.2923 | 5427495.0932 | 2365673.1511 | 166147592.8635 | 5239162.8659 | 2283585.1002 | 163533393.6115 | 7519722.3207 | 3277608.7113 | 202192119.1264 | 6285276.4796 | 2739552.8803 | 187575187.8481 | 7519722.3207 | 3277608.7113 | 197996374.4455 | 6285276.4796 | 2739552.8803 | 183379443.1672 | 5427495.0932 | 2365673.1511 | 191859617.604 | 5239162.8659 | 2283585.1002 | 188285621.6842 | 6259467.2487 | 2728303.4542 | 203253313.2839 | 5963265.3888 | 2599198.4481 | 199025036.467 | 5427495.0932 | 2365673.1511 | 179780884.3882 | 5239162.8659 | 2283585.1002 | 176911540.9952 | 5427495.0932 | 2365673.1511 | 174035956.3125 | 5239162.8659 | 2283585.1002 | 171166612.9195 | 5427495.0932 | 2365673.1511 | 183476758.3137 | 5239162.8659 | 2283585.1002 | 180716281.7055 | 5427495.0932 | 2365673.1511 | 179094564.2596 | 5239162.8659 | 2283585.1002 | 176334087.6515 | 5427495.0932 | 2365673.1511 | 188130044.8644 | 5239162.8659 | 2283585.1002 | 185322563.5485 | 3920530.4897 | 1708835.0258 | 250445658.7434 | 1135740.3258 | 495033.2242 | 400501473.6148
2047 | 192717.7453 | 189954.5104 | 200437.4877 | 197674.2528 | 172628.4753 | 169933.4221 | 168432.7307 | 165737.6774 | 205355.0459 | 190218.3661 | 201159.3013 | 186022.6215 | 194144.7554 | 190489.9055 | 205888.4448 | 201533.853 | 182066.0222 | 179115.8248 | 176321.0941 | 173370.8967 | 185761.8961 | 182920.5655 | 181379.7021 | 178538.3714 | 190415.1827 | 187526.8473 | 252094.1204 | 400978.9525 |  | 6608586.0102 | 2778328.8193 | 192717745.3122 | 6410439.1837 | 2695025.517 | 189954510.4105 | 6611384.6212 | 2779505.3889 | 200437487.6565 | 6413237.7947 | 2696202.0866 | 197674252.7548 | 5435472.4145 | 2285137.7938 | 172628475.3382 | 5243151.5265 | 2204283.7859 | 169933422.0782 | 5435472.4145 | 2285137.7938 | 168432730.6573 | 5243151.5265 | 2204283.7859 | 165737677.3974 | 7523398.1452 | 3162926.8127 | 205355045.9391 | 6287114.3919 | 2643178.2954 | 190218366.1434 | 7523398.1452 | 3162926.8127 | 201159301.2583 | 6287114.3919 | 2643178.2954 | 186022621.4626 | 5435472.4145 | 2285137.7938 | 194144755.3978 | 5243151.5265 | 2204283.7859 | 190489905.4701 | 6267974.2313 | 2635131.5423 | 205888444.8262 | 5967518.8801 | 2508816.5091 | 201533852.9761 | 5435472.4145 | 2285137.7938 | 182066022.182 | 5243151.5265 | 2204283.7859 | 179115824.7811 | 5435472.4145 | 2285137.7938 | 176321094.1063 | 5243151.5265 | 2204283.7859 | 173370896.7054 | 5435472.4145 | 2285137.7938 | 185761896.1075 | 5243151.5265 | 2204283.7859 | 182920565.4914 | 5435472.4145 | 2285137.7938 | 181379702.0534 | 5243151.5265 | 2204283.7859 | 178538371.4374 | 5435472.4145 | 2285137.7938 | 190415182.6582 | 5243151.5265 | 2204283.7859 | 187526847.3344 | 3921062.3111 | 1648461.6232 | 252094120.3665 | 1135740.3258 | 477478.8546 | 400978952.4694
2048 | 195914.3299 | 193079.7407 | 203635.2071 | 200800.6179 | 175640.1811 | 172883.5266 | 171444.4364 | 168687.7819 | 209231.0842 | 193600.6369 | 205035.3395 | 189404.8922 | 196316.0887 | 192599.6376 | 208947.9432 | 204488.9891 | 185302.4264 | 182290.6278 | 179188.9928 | 176177.1942 | 188814.0476 | 185911.1157 | 184207.155 | 181304.2232 | 193467.3341 | 190517.3976 | 254315.5909 | 402073.1492 |  | 7882995.9368 | 3196584.5465 | 195914329.8587 | 7707031.5749 | 3125230.3349 | 193079740.7454 | 7885794.5477 | 3197719.3938 | 203635207.0502 | 7709830.1858 | 3126365.1822 | 200800617.9369 | 7427072.1857 | 3011705.748 | 175640181.0862 | 7275159.2974 | 2950104.4996 | 172883526.5778 | 7427072.1857 | 3011705.748 | 171444436.4054 | 7275159.2974 | 2950104.4996 | 168687781.897 | 9558575.171 | 3876038.2376 | 209231084.1768 | 8340910.7901 | 3382270.7444 | 193600636.8878 | 9558575.171 | 3876038.2376 | 205035339.4959 | 8340910.7901 | 3382270.7444 | 189404892.207 | 5354656.4151 | 2171333.3465 | 196316088.7444 | 5202743.5268 | 2109732.0981 | 192599637.5682 | 7544932.1666 | 3059498.4143 | 208947943.2405 | 7287567.7402 | 2955136.1699 | 204488989.146 | 7981194.0495 | 3236404.2511 | 185302426.4331 | 7829281.1612 | 3174803.0027 | 182290627.7838 | 7072434.1928 | 2867898.7061 | 179188992.8124 | 6920521.3046 | 2806297.4576 | 176177194.1631 | 7526814.1212 | 3052151.4786 | 188814047.5861 | 7374901.2329 | 2990550.2301 | 185911115.7216 | 6972692.2574 | 2827452.9755 | 184207155.0289 | 6820779.3691 | 2765851.7271 | 181304223.1644 | 7526814.1212 | 3052151.4786 | 193467334.1368 | 7374901.2329 | 2990550.2301 | 190517397.5645 | 5478298.2338 | 2221470.5698 | 254315590.9363 | 2698363.9817 | 1094196.7589 | 402073149.2283
2049 | 177371.2781 | 174536.689 | 185178.372 | 182343.7829 | 165201.3296 | 162444.6751 | 161088.6597 | 158332.0052 | 198792.2327 | 183161.7854 | 194327.1375 | 178696.6902 | 181950.908 | 178234.4568 | 189052.2255 | 184593.2715 | 172091.1484 | 169079.3498 | 166364.2744 | 163352.4758 | 174698.1321 | 171795.2003 | 170804.1673 | 167901.2354 | 179405.7971 | 176455.8606 | 212859.7311 | 292536.1511 |  | -47409625.192 | -18543051.7567 | 177371278.102 | -47409625.192 | -18543051.7567 | 174536688.9887 | -47189192.2171 | -18456835.0856 | 185178371.9646 | -47189192.2171 | -18456835.0856 | 182343782.8513 | -26689352.0737 | -10438851.4959 | 165201329.5903 | -26689352.0737 | -10438851.4959 | 162444675.0819 | -26476952.0737 | -10355776.7157 | 161088659.6897 | -26476952.0737 | -10355776.7157 | 158332005.1813 | -26689352.0737 | -10438851.4959 | 198792232.6808 | -26689352.0737 | -10438851.4959 | 183161785.3919 | -27378009.2166 | -10708201.9704 | 194327137.5255 | -27378009.2166 | -10708201.9704 | 178696690.2365 | -36727926.1854 | -14365180.7711 | 181950907.9733 | -36727926.1854 | -14365180.7711 | 178234456.7972 | -50868030.3123 | -19895717.695 | 189052225.5455 | -50868030.3123 | -19895717.695 | 184593271.451 | -33777705.3251 | -13211277.9954 | 172091148.4377 | -33777705.3251 | -13211277.9954 | 169079349.7884 | -32789375.7552 | -12824718.3823 | 166364274.4301 | -32789375.7552 | -12824718.3823 | 163352475.7807 | -36090621.4542 | -14115915.4675 | 174698132.1185 | -36090621.4542 | -14115915.4675 | 171795200.2541 | -34267855.8628 | -13402987.7326 | 170804167.2963 | -34267855.8628 | -13402987.7326 | 167901235.4319 | -35951590.2253 | -14061536.9892 | 179405797.1475 | -35951590.2253 | -14061536.9892 | 176455860.5752 | -105991548.8838 | -41455859.8337 | 212859731.1026 | -280056815.5504 | -109536998.121 | 292536151.1073

## Generation Additions
| A | A+Renew | B | B+Renew | C | C+Renew | C(N-1) | C(N-1)+Renew | C&NatGas | C&NatGas + Renew | C&NatGas(N-1) | C&NatGas(N-1)+Renew | D | D + Renew | E | E +Renew | F(i) | F(i) + Renew | F(i)(N-1) | F(i)(N-1) + Renew | F(ii) | F(ii) + Renew | F(ii)(N-1) | F(ii)(N-1) + Renew | F(iii) | F(iii) + Renew | G | H
2023
2024 |  |  | 3,400 MW | 3,400 MW | 9,106 MW | 9,106 MW | 5,963 MW | 5,963 MW | 9,106 MW | 9,106 MW | 5,963 MW | 5,963 MW |  |  |  |  | 7,796 MW | 7,796 MW | 5,886 MW | 5,886 MW | 6,796 MW | 6,796 MW | 5,5053 MW | 5,5053 MW | 6,796 MW | 6,796 MW | 4,666 MW | 4,666 MW
2025
2026
2027
2028 |  | 3,750 MWh |  | 3,750 MWh |  | 7,500 MWh |  | 7,500 MWh |  | 7,500 MWh |  | 7,500 MWh |  | 7,500 MWh |  | 7,500 MWh |  | 6,750 MWh |  | 6,750 MWh |  | 5,250 MWh |  | 5,250 MWh |  | 5,250 MWh
2029
2030 | 2,420 MW | 2,420 MW | 2,420 MW | 2,420 MW | [8 empty] | 4,576 MW | 4,576 MW | 2,730 MW | 2,730 MW |  |  |  |  | 910 MW | 910 MW | 910 MW | 910 MW |  |  | 910 MW | 910 MW
2031
2032
2033 | [26 empty] | COD Hydro Site 8C | LIS Interconection
2034
2035 | 2,200 MW | 2,200 MW | 2,200 MW | 2,200 MW | [8 empty] | 1,833 MW | 1,833 MW | 1,820 MW | 1,820 MW | [5 empty] | 2,250 MWh |  | 2,250 MWh | 910 MW | 910 MW / 2,250 MWh
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045 | 2,000 MW | 2,000 MW | 2,000 MW | 2,000 MW | [8 empty] | 910 MW | 910 MW | 910 MW | 910 MW |  | 1,250 MWh | 910 MW | 910 MW / 1,250 MWh
2046
2047
2048
2049